## Cover_sheet
Scottish House Condition Survey 2022 Key Findings
Chapter 2: Energy Efficiency
This spreadsheet contains additional information on 'Scottish House Condition Survey: 2022 Key Findings' chapter 2 'Energy Efficiency ' published as part of the National Statistics publication:
Scottish house condition survey: 2022 key findings, released on 29th February 2024
This spreadsheet contains a range of analysis from the 2022 Scottish House Condition Survey, including: / - levels of insulation in Scottish dwellings / - boiler efficiencies / - Energy Efficiency Ratings, also known as SAP ratings / - National Home Energy ratings (NHERs) / - modelled carbon (CO2) emissions from dwellings and / - Environmental Impact Ratings (EIR).
For commentary, advice and background notes on these statistics, please refer to the main publication.
Scottish house condition survey: 2022 key findings, released on 29th February 2024
Publication dates
The data tables in this spreadsheet were originally published at 9:30am 29th Feb 2024.
Note on the impact of Covid-19
The time period covered by these statistics means that time series results will be affected by the coronavirus (COVID-19) pandemic. Specifically there is no 2020 data and 2021 data is not comparable to other waves of the survey. / Further details can be found in the following:
Notes on the impact of the coronavirus (COVID-19) on these statistics
Notes and shorthand
Some cells in the tables refer to notes which can be found in the notes worksheet. Note markers are presented in square brackets, for example: [note 1]. / Some tables in this spreadsheet have cells with no data. When this is the case the cells are marked up with shorthand: / [low] for a percentage less than 0.5% and a number less than 500 / [w] indicates no sample cases in this category / [c] indicates base sample too small to report (below 30 cases) or estimate representing 2 or fewer sampled households / [x] for not available, i.e. the data was not collected in the survey / [z] not applicable. / These symbols have been chosen to align with harmonisation standards set by the Government Statistical Service.
Comparisons over time
Scottish House Condition Survey results for 2022 have been assessed to be comparable in the most part to 2019 and earlier years. However, the 2022 results for percentages of households in each tenure should be treated with caution, as there is evidence to suggest that social rented and private rented households may be under-represented in the 2022 achieved sample.
Due to this national level estimates of EPC ratings, loft and solid wall insulation may be slightly under-estimated, as socially rented households tend to have higher rates of solid wall insulation and higher EPC ratings than owner-occupied households and private renters. However, we expect any effects to be minor as solid wall insulation makes up only around a quarter of all dwellings, and private rented dwellings (which are underestimated more significantly than socially rented properties) tend to have similar EPC scores to owner occupiers (50% C or above and 48% C or above respectively).
See section 1.1.4 for details of SHCS Weighting and section 1.1.5 for a Comparison to Previous SHCS Waves
Notes affecting all tables
Rounding: All numbers are rounded to the nearest 1,000 and percentages are rounded to the nearest whole number. Because of rounding, figures in tables and charts may not always add exactly. / Sample Sizes: The Scottish House Condition Survey is a sample survey. All survey figures are estimates of the true prevalence within the population and will contain some error associated with sampling variability.
For more information on Sample Sizes and Gross Dwelling Numbers see section 1.1.1 of the 2022 SHCS Technical and Methodological Notes.
Previous 'Scottish House Condition Survey: Key Findings' publications
Previous 'Scottish House Condition Survey: Key Findings' publications can be found at:
Scottish House Condition Survey - gov.scot (www.gov.scot)
Contact details
shcs@gov.scot

## Table_of_Contents
Table of Contents
This worksheet contains one table.
Worksheet number	Worksheet title	Publication Section	Date this data / was first published	Date / Updated
Notes	Notes		2/29/2024
Table EE1	Depth of loft insulation, 2003/2004 to 2022	Loft Insulation	2/29/2024
Figure EE1	Loft insulation (where applicable), 2003/2004 to 2022 (graph)	Loft Insulation	2/29/2024
Figure EE2	Depth of loft insulation (where applicable), 2003/2004 to 2022 (graph)	Loft Insulation	2/29/2024
Table EE2a and EE2b	Depth of loft insulation by tenure (where applicable), 2003/2004 to 2022	Loft Insulation	2/29/2024
Figure EE3	Loft insulation (where applicable) by tenure, 2003/2004 to 2022 (graph)	Loft Insulation	2/29/2024
Figure EE4	Depth of loft insulation (where applicable) by tenure, 2003/2004 to 2022 (graph)	Loft Insulation	2/29/2024
Table EE3a and EE3b	Wall insulation by wall type, 2012 to 2022	Wall Insulation	2/29/2024
Figure EE5	Cavity wall insulation, 2012 to 2022 (graph)	Wall Insulation	2/29/2024
Figure EE6	Wall insulation of solid and other wall types, 2012 to 2022 (graph)	Wall Insulation	2/29/2024
Table EE4a and EE4b	Wall insulation by wall type and tenure, 2022	Wall Insulation	2/29/2024
Table EE5a and EE5b	Gas and oil boiler types and characteristics, 2012 to 2022	Boilers	2/29/2024
Figure EE7	Gas and oil boiler types and characteristics, 2012 to 2022 (graph)	Boilers	2/29/2024
Table EE6	Average Energy Efficiency Rate (EER), 2010 to 2022	Energy Efficiency Rating	2/29/2024
Infographic EE1	Mean and median EER relative to EPC bands (SAP 2009), 2010-2022	Energy Efficiency Rating	2/29/2024
Infographic EE2	Mean and median EER relative to EPC bands (SAP 2012 - RdSAP v9.93), 2018-2022	Energy Efficiency Rating	2/29/2024
Table EE7a and EE7b	Distribution of the Scottish housing stock by EPC band, 2010 to 2022	Energy Efficiency Rating	2/29/2024
Figure EE8	Distribution of the Scottish housing stock by grouped EPC band (SAP 2009), 2010 to 2022	Energy Efficiency Rating	2/29/2024
Table EE8a and EE8b	EPC band by tenure in 2022, SAP 2012 (RdSAP v9.93)	Energy Efficiency Rating	2/29/2024
Table EE9	Mean EER and broad EPC band, by household characteristics, in 2022 (SAP 2012)	Energy Efficiency Rating	2/29/2024
Table EE10	Mean EER and broad EPC band, by dwelling characteristics, in 2022 (SAP 2012)	Energy Efficiency Rating	2/29/2024
Figure EE9	EPC band F or G dwellings by dwelling and household characteristics in 2022 (SAP 2012)	Energy Efficiency Rating	2/29/2024
Table EE11	NHER scores and banded ratings by household characteristics in 2022	National Home Energy Ratings (NHER)	2/29/2024
Table EE12	NHER scores and banded ratings by dwelling characteristics in 2022	National Home Energy Ratings (NHER)	2/29/2024
Table EE13	Modelled Emissions in Scottish housing, 2012-2022	Carbon Emissions	2/29/2024
Table EE14	Average floor area and average modelled annual carbon emissions by age and type of dwelling, 2022	Carbon Emissions	2/29/2024
Table EE15	Average modelled emissions (kg per square meter) by tenure, 2010 to 2022	Carbon Emissions	2/29/2024
Figure EE10	Average modelled emissions (kg per square meter) by tenure, 2010 to 2022 (graph)	Carbon Emissions	2/29/2024
Table EE16a and EE16b	Environmental Impact Rating (EIR) bands in the Scottish housing stock in 2022, SAP 2012	Environmental Impact Rating (EIR)	2/29/2024
Infographic EE3	Distribution of the Scottish housing stock by grouped EPC band from 2018 to 2022, SAP 2012 (infographic)	Environmental Impact Rating (EIR)	2/29/2024
Table EE17	Mean Environmental Impact Rating (EIR) and broad EIR band, by dwelling characteristics in 2022, SAP 2012	Environmental Impact Rating (EIR)	2/29/2024

## Notes
Notes
This worksheet contains one table.
Back to table of contents
Note number	Note text	Relevant hyperlinks (where appropriate)
[note 1]	Dwellings without loft spaces are excluded from the analysis. A dwelling is classified as ‘not applicable’ for loft insulation if it has a flat roof or another dwelling above it (i.e. it is a mid- or ground-floor flat).
[note 2]	Dwellings built post-1983 are presumed insulated when built.
[note 3]	For 2022 onwards, the 2020 urban rural classification is used for reporting. The 2013/14 urban rural classification (2011 data zone edition) is used for reporting 2016 to 2019 data. Prior to 2016, 2001 data zones are used.	More information is available in section 2.3. in 'Scottish House Condition Survey: 2022 Key Findings Technical and Methodological Notes'
[note 4]	Gas grid coverage is determined on the basis of the distance of the dwelling from a low / medium / intermediate pressure gas distribution pipe. Based on the usual maximum distance for standard domestic connection (63 m), dwellings are classified as being “on” or “off” the grid. This does not reflect whether the dwelling is actually connected to the grid. For 2021 an improvement has been introduced whereby a dwelling is classified as “on” the grid if a mains gas connection has been recorded in the physical survey.
[note 5]	The number all households using gas or oil boilers for heating is avaiable on Table KA7a in the ‘SHCS 2022- Chapter 01 Key Attributes of the Scottish Housing Stock – tables and figures’.	Supporting documents - Scottish House Condition Survey: 2022 Key Findings - gov.scot (www.gov.scot)
[note 6]	Figures for average floor area by age and type of dwelling are avaiable on Table KA4 in the ‘SHCS 2022- Chapter 01 Key Attributes of the Scottish Housing Stock – tables and figures’.	Supporting documents - Scottish House Condition Survey: 2022 Key Findings - gov.scot (www.gov.scot)
[note 7]	Data prior to 2014 does not include households living rent free. Figures for 2014-2019 are therefore not fully comparable to the previous years.
[note 8]	SHCS energy modelling for SAP 2012 in this report is based on RdSAP (v9.93).	Standard Assessment Procedure (SAP 2012) - BRE Group
[note 9]	No A-rated properties were sampled between 2010 and 2019
[note 10]	As there is evidence to suggest that social and private rented households may be under-represented in the 2022 achieved sample and owner-occupied households, may be over-represented, national level estimates of EPC ratings, loft and solid wall insulation may be slightly under-estimated. This is due to socially rented households tending to have higher rates of solid wall insulation and higher EPC ratings than owner-occupied households and private renters. However, we expect any effects to be minor as solid wall insulation makes up only around a quarter of all dwellings. Furthermore, private rented dwellings (which are underestimated more significantly than socially rented properties) tend to have similar EPC scores to owner occupiers (50% C or above and 48% C or above respectively).	See section 1.1.5 of the Methodological and Technical notes

## Table_EE1
Table EE1: Depth of loft insulation, 2003/2004 to 2022 [note 1] [note 10]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Year	Loft Insulation Status	Depth of Loft Insulation	Percentage of dwellings / (%)	Number of dwellings / (in thousands)
2022	Not insulated	Not insulated	1%	16
2022	Insulated (grouped)	100mm or more	95%	1,784
2022	Insulated (grouped)	200mm or more	66%	1,230
2022	Insulated	1mm - 99mm	4%	76
2022	Insulated	100mm - 199mm	30%	554
2022	Insulated	200mm - 299mm	33%	628
2022	Insulated	300mm or more	32%	603
2022	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,876
2021	Not insulated	Not insulated	[x]	[x]
2021	Insulated (grouped)	100mm or more	[x]	[x]
2021	Insulated (grouped)	200mm or more	[x]	[x]
2021	Insulated	1mm - 99mm	[x]	[x]
2021	Insulated	100mm - 199mm	[x]	[x]
2021	Insulated	200mm - 299mm	[x]	[x]
2021	Insulated	300mm or more	[x]	[x]
2021	All Insulation Status	All Applicable Dwellings [note 1]	[x]	[x]
2020	Not insulated	Not insulated	[x]	[x]
2020	Insulated (grouped)	100mm or more	[x]	[x]
2020	Insulated (grouped)	200mm or more	[x]	[x]
2020	Insulated	1mm - 99mm	[x]	[x]
2020	Insulated	100mm - 199mm	[x]	[x]
2020	Insulated	200mm - 299mm	[x]	[x]
2020	Insulated	300mm or more	[x]	[x]
2020	All Insulation Status	All Applicable Dwellings [note 1]	[x]	[x]
2019	Not insulated	Not insulated	1%	14
2019	Insulated (grouped)	100mm or more	94%	1,764
2019	Insulated (grouped)	200mm or more	65%	1,217
2019	Insulated	1mm - 99mm	6%	105
2019	Insulated	100mm - 199mm	29%	547
2019	Insulated	200mm - 299mm	34%	643
2019	Insulated	300mm or more	30%	574
2019	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,883
2018	Not insulated	Not insulated	1%	11
2018	Insulated (grouped)	100mm or more	94%	1,730
2018	Insulated (grouped)	200mm or more	62%	1,135
2018	Insulated	1mm - 99mm	5%	95
2018	Insulated	100mm - 199mm	32%	594
2018	Insulated	200mm - 299mm	32%	594
2018	Insulated	300mm or more	30%	542
2018	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,836
2017	Not insulated	Not insulated	1%	9
2017	Insulated (grouped)	100mm or more	94%	1,715
2017	Insulated (grouped)	200mm or more	63%	1,152
2017	Insulated	1mm - 99mm	6%	101
2017	Insulated	100mm - 199mm	31%	563
2017	Insulated	200mm - 299mm	33%	601
2017	Insulated	300mm or more	30%	551
2017	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,825
2016	Not insulated	Not insulated	1%	9
2016	Insulated (grouped)	100mm or more	94%	1,722
2016	Insulated (grouped)	200mm or more	65%	1,197
2016	Insulated	1mm - 99mm	6%	109
2016	Insulated	100mm - 199mm	29%	525
2016	Insulated	200mm - 299mm	35%	643
2016	Insulated	300mm or more	30%	555
2016	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,840
2015	Not insulated	Not insulated	1%	19
2015	Insulated (grouped)	100mm or more	92%	1,680
2015	Insulated (grouped)	200mm or more	64%	1,161
2015	Insulated	1mm - 99mm	7%	125
2015	Insulated	100mm - 199mm	28%	518
2015	Insulated	200mm - 299mm	32%	576
2015	Insulated	300mm or more	32%	585
2015	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,824
2014	Not insulated	Not insulated	1%	15
2014	Insulated (grouped)	100mm or more	91%	1,651
2014	Insulated (grouped)	200mm or more	62%	1,123
2014	Insulated	1mm - 99mm	8%	143
2014	Insulated	100mm - 199mm	29%	528
2014	Insulated	200mm - 299mm	35%	639
2014	Insulated	300mm or more	27%	484
2014	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,809
2013	Not insulated	Not insulated	2%	27
2013	Insulated (grouped)	100mm or more	92%	1,652
2013	Insulated (grouped)	200mm or more	62%	1,118
2013	Insulated	1mm - 99mm	6%	113
2013	Insulated	100mm - 199mm	30%	534
2013	Insulated	200mm - 299mm	38%	689
2013	Insulated	300mm or more	24%	429
2013	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,793
2012	Not insulated	Not insulated	2%	31
2012	Insulated (grouped)	100mm or more	88%	1,592
2012	Insulated (grouped)	200mm or more	54%	975
2012	Insulated	1mm - 99mm	10%	185
2012	Insulated	100mm - 199mm	34%	617
2012	Insulated	200mm - 299mm	37%	667
2012	Insulated	300mm or more	17%	308
2012	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,809
2011	Not insulated	Not insulated	2%	32
2011	Insulated (grouped)	100mm or more	86%	1,557
2011	Insulated (grouped)	200mm or more	45%	812
2011	Insulated	1mm - 99mm	12%	225
2011	Insulated	100mm - 199mm	41%	745
2011	Insulated	200mm - 299mm	35%	628
2011	Insulated	300mm or more	10%	184
2011	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,814
2010	Not insulated	Not insulated	2%	42
2010	Insulated (grouped)	100mm or more	82%	1,444
2010	Insulated (grouped)	200mm or more	35%	621
2010	Insulated	1mm - 99mm	16%	279
2010	Insulated	100mm - 199mm	47%	822
2010	Insulated	200mm - 299mm	30%	527
2010	Insulated	300mm or more	5%	94
2010	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,764
2009	Not insulated	Not insulated	5%	96
2009	Insulated (grouped)	100mm or more	75%	1,357
2009	Insulated (grouped)	200mm or more	27%	485
2009	Insulated	1mm - 99mm	19%	349
2009	Insulated	100mm - 199mm	48%	872
2009	Insulated	200mm - 299mm	[x]	[x]
2009	Insulated	300mm or more	[x]	[x]
2009	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,803
2008	Not insulated	Not insulated	6%	101
2008	Insulated (grouped)	100mm or more	73%	1,290
2008	Insulated (grouped)	200mm or more	27%	471
2008	Insulated	1mm - 99mm	22%	386
2008	Insulated	100mm - 199mm	46%	818
2008	Insulated	200mm - 299mm	[x]	[x]
2008	Insulated	300mm or more	[x]	[x]
2008	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,777
2007	Not insulated	Not insulated	5%	99
2007	Insulated (grouped)	100mm or more	71%	1,280
2007	Insulated (grouped)	200mm or more	22%	388
2007	Insulated	1mm - 99mm	24%	426
2007	Insulated	100mm - 199mm	49%	892
2007	Insulated	200mm - 299mm	[x]	[x]
2007	Insulated	300mm or more	[x]	[x]
2007	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,805
2005/ 2006	Not insulated	Not insulated	6%	104
2005/ 2006	Insulated (grouped)	100mm or more	73%	1,302
2005/ 2006	Insulated (grouped)	200mm or more	18%	315
2005/ 2006	Insulated	1mm - 99mm	21%	384
2005/ 2006	Insulated	100mm - 199mm	55%	987
2005/ 2006	Insulated	200mm - 299mm	[x]	[x]
2005/ 2006	Insulated	300mm or more	[x]	[x]
2005/ 2006	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,791
2004/ 2005	Not insulated	Not insulated	5%	96
2004/ 2005	Insulated (grouped)	100mm or more	70%	1,272
2004/ 2005	Insulated (grouped)	200mm or more	16%	289
2004/ 2005	Insulated	1mm - 99mm	25%	460
2004/ 2005	Insulated	100mm - 199mm	54%	982
2004/ 2005	Insulated	200mm - 299mm	[x]	[x]
2004/ 2005	Insulated	300mm or more	[x]	[x]
2004/ 2005	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,828
2003/ 2004	Not insulated	Not insulated	6%	110
2003/ 2004	Insulated (grouped)	100mm or more	68%	1,211
2003/ 2004	Insulated (grouped)	200mm or more	14%	258
2003/ 2004	Insulated	1mm - 99mm	26%	462
2003/ 2004	Insulated	100mm - 199mm	53%	953
2003/ 2004	Insulated	200mm - 299mm	[x]	[x]
2003/ 2004	Insulated	300mm or more	[x]	[x]
2003/ 2004	All Insulation Status	All Applicable Dwellings [note 1]	100%	1,783
2022		Sample size (number)	2,358
2021		Sample size (number)	[x]
2020		Sample size (number)	[x]
2019		Sample size (number)	2,403
2018		Sample size (number)	2,346
2017		Sample size (number)	2,359
2016		Sample size (number)	2,266
2015		Sample size (number)	2,190
2014		Sample size (number)	2,140
2013		Sample size (number)	2,158
2012		Sample size (number)	2,225
2011		Sample size (number)	2,594
2010		Sample size (number)	2,479
2009		Sample size (number)	2,684
2008		Sample size (number)	2,409
2007		Sample size (number)	2,474
2005/ 2006		Sample size (number)	2,568
2004/ 2005		Sample size (number)	2,564
2003/ 2004		Sample size (number)	2,551

## Figure_EE1
Figure EE1: Loft insulation (where applicable), 2003/2004 to 2022 [note 1]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Two line charts showing the percentage of dwellings with insulated loft (100mm or more) and non- insulated lofts from 2003/2004 to 2022. Since 2010, there has been an overall improvement in the uptake of loft insulation. The proportion of all housing with 100 mm or more of loft insulation has increased by 13 percentage points on 2010 levels with 95% of applicable dwellings insulated in 2022. Most of this improvement occurred before 2013. The share of dwellings with no loft insulation has fallen from 6% in 2003/4 to 1% in 2022. Most of this decline occurred before 2010. Since then improvement has slowed down, suggesting that there may be barriers preventing the installation of insulation in the relatively few remaining uninsulated lofts. / Data Source: Table_EE1_Depth_of_loft_insulation

## Figure_EE2
Figure EE2: Depth of loft insulation (where applicable), 2003/2004 to 2022 [note 1]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Four line charts showing the percentage of occupied dwellings by depth of loft insulation. Since 2010 the thickness of loft insulation has increased significantly. In 2022, 66% of dwellings with lofts had insulation with a depth of 200 mm or more. Much of this increase has occurred between 2009 and 2013, when the percentage increased from 27% to 62%. This can largely be attributed to the installation of top-up insulation. There has been an increase in the share of dwellings with loft insulation with a depth of 100-199 mm between 2019 and 2022. / Data Source: Table_EE1_Depth_of_loft_insulation

## Table_EE2a_and_EE2b
Table EE2a and EE2b: Depth of loft insulation by tenure (where applicable), 2003/2004 to 2022
This worksheet contains two tables presented next to each other horizontally, with one blank column between them.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Table EE2a. Percentage of dwellings by loft insulation and tenure, 2003/2004 to 2022 [note 1]					Table EE2b. Number of dwellings by loft insulation and tenure, 2003/2004 to 2022 [note 1]
Year	Loft Insulation Status	Depth of Loft Insulation	Private Sector (%)	Social Sector (%)	All Applicable Tenures (%)		Year	Loft Insulation Status	Depth of Loft Insulation	Private Sector / (in thousands)	Social Sector / (in thousands)	All Applicable Tenures / (in thousands)
2022	Not insulated	Not insulated	1%	[w]	1%		2022	Not insulated	Not insulated	16	[w]	16
2022	Insulated (grouped)	100mm or more	95%	98%	95%		2022	Insulated (grouped)	100mm or more	1,434	351	1,784
2022	Insulated (grouped)	200mm or more	63%	76%	66%		2022	Insulated (grouped)	200mm or more	958	272	1,230
2022	Insulated	1mm - 99mm	4%	2%	4%		2022	Insulated	1mm - 99mm	67	9	76
2022	Insulated	100mm - 199mm	31%	22%	30%		2022	Insulated	100mm - 199mm	475	78	554
2022	Insulated	200mm - 299mm	34%	33%	33%		2022	Insulated	200mm - 299mm	510	118	628
2022	Insulated	300mm or more	30%	43%	32%		2022	Insulated	300mm or more	448	155	603
2022	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2022	All Insulation Status	All Applicable Dwellings [note 1]	1,517	360	1,876
2021	Not insulated	Not insulated	[x]	[x]	[x]		2021	Not insulated	Not insulated	[x]	[x]	[x]
2021	Insulated (grouped)	100mm or more	[x]	[x]	[x]		2021	Insulated (grouped)	100mm or more	[x]	[x]	[x]
2021	Insulated (grouped)	200mm or more	[x]	[x]	[x]		2021	Insulated (grouped)	200mm or more	[x]	[x]	[x]
2021	Insulated	1mm - 99mm	[x]	[x]	[x]		2021	Insulated	1mm - 99mm	[x]	[x]	[x]
2021	Insulated	100mm - 199mm	[x]	[x]	[x]		2021	Insulated	100mm - 199mm	[x]	[x]	[x]
2021	Insulated	200mm - 299mm	[x]	[x]	[x]		2021	Insulated	200mm - 299mm	[x]	[x]	[x]
2021	Insulated	300mm or more	[x]	[x]	[x]		2021	Insulated	300mm or more	[x]	[x]	[x]
2021	All Insulation Status	All Applicable Dwellings [note 1]	[x]	[x]	[x]		2021	All Insulation Status	All Applicable Dwellings [note 1]	[x]	[x]	[x]
2020	Not insulated	Not insulated	[x]	[x]	[x]		2020	Not insulated	Not insulated	[x]	[x]	[x]
2020	Insulated (grouped)	100mm or more	[x]	[x]	[x]		2020	Insulated (grouped)	100mm or more	[x]	[x]	[x]
2020	Insulated (grouped)	200mm or more	[x]	[x]	[x]		2020	Insulated (grouped)	200mm or more	[x]	[x]	[x]
2020	Insulated	1mm - 99mm	[x]	[x]	[x]		2020	Insulated	1mm - 99mm	[x]	[x]	[x]
2020	Insulated	100mm - 199mm	[x]	[x]	[x]		2020	Insulated	100mm - 199mm	[x]	[x]	[x]
2020	Insulated	200mm - 299mm	[x]	[x]	[x]		2020	Insulated	200mm - 299mm	[x]	[x]	[x]
2020	Insulated	300mm or more	[x]	[x]	[x]		2020	Insulated	300mm or more	[x]	[x]	[x]
2020	All Insulation Status	All Applicable Dwellings [note 1]	[x]	[x]	[x]		2020	All Insulation Status	All Applicable Dwellings [note 1]	[x]	[x]	[x]
2019	Not insulated	Not insulated	1%	1%	1%		2019	Not insulated	Not insulated	10	4	14
2019	Insulated (grouped)	100mm or more	93%	96%	94%		2019	Insulated (grouped)	100mm or more	1,378	386	1,764
2019	Insulated (grouped)	200mm or more	63%	71%	65%		2019	Insulated (grouped)	200mm or more	932	285	1,217
2019	Insulated	1mm - 99mm	6%	3%	6%		2019	Insulated	1mm - 99mm	91	14	105
2019	Insulated	100mm - 199mm	30%	25%	29%		2019	Insulated	100mm - 199mm	446	101	547
2019	Insulated	200mm - 299mm	34%	33%	34%		2019	Insulated	200mm - 299mm	509	135	643
2019	Insulated	300mm or more	29%	37%	30%		2019	Insulated	300mm or more	423	151	574
2019	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2019	All Insulation Status	All Applicable Dwellings [note 1]	1,480	403	1,883
2018	Not insulated	Not insulated	1%	[low]	1%		2018	Not insulated	Not insulated	10	1	11
2018	Insulated (grouped)	100mm or more	94%	96%	94%		2018	Insulated (grouped)	100mm or more	1,350	380	1,730
2018	Insulated (grouped)	200mm or more	59%	71%	62%		2018	Insulated (grouped)	200mm or more	856	279	1,135
2018	Insulated	1mm - 99mm	6%	3%	5%		2018	Insulated	1mm - 99mm	82	13	95
2018	Insulated	100mm - 199mm	34%	26%	32%		2018	Insulated	100mm - 199mm	494	101	594
2018	Insulated	200mm - 299mm	31%	38%	32%		2018	Insulated	200mm - 299mm	444	149	594
2018	Insulated	300mm or more	29%	33%	30%		2018	Insulated	300mm or more	412	130	542
2018	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2018	All Insulation Status	All Applicable Dwellings [note 1]	1,442	394	1,836
2017	Not insulated	Not insulated	1%	[w]	1%		2017	Not insulated	Not insulated	9	[w]	9
2017	Insulated (grouped)	100mm or more	93%	97%	94%		2017	Insulated (grouped)	100mm or more	1,354	361	1,715
2017	Insulated (grouped)	200mm or more	60%	75%	63%		2017	Insulated (grouped)	200mm or more	874	278	1,152
2017	Insulated	1mm - 99mm	6%	3%	6%		2017	Insulated	1mm - 99mm	92	9	101
2017	Insulated	100mm - 199mm	33%	22%	31%		2017	Insulated	100mm - 199mm	480	83	563
2017	Insulated	200mm - 299mm	32%	38%	33%		2017	Insulated	200mm - 299mm	459	142	601
2017	Insulated	300mm or more	28%	37%	30%		2017	Insulated	300mm or more	415	136	551
2017	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2017	All Insulation Status	All Applicable Dwellings [note 1]	1,455	370	1,825
2016	Not insulated	Not insulated	1%	[w]	1%		2016	Not insulated	Not insulated	9	[w]	9
2016	Insulated (grouped)	100mm or more	93%	97%	94%		2016	Insulated (grouped)	100mm or more	1,349	373	1,722
2016	Insulated (grouped)	200mm or more	62%	78%	65%		2016	Insulated (grouped)	200mm or more	898	299	1,197
2016	Insulated	1mm - 99mm	7%	3%	6%		2016	Insulated	1mm - 99mm	96	13	109
2016	Insulated	100mm - 199mm	31%	19%	29%		2016	Insulated	100mm - 199mm	451	74	525
2016	Insulated	200mm - 299mm	33%	43%	35%		2016	Insulated	200mm - 299mm	477	166	643
2016	Insulated	300mm or more	29%	35%	30%		2016	Insulated	300mm or more	421	133	555
2016	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2016	All Insulation Status	All Applicable Dwellings [note 1]	1,455	386	1,840
2015	Not insulated	Not insulated	1%	[low]	1%		2015	Not insulated	Not insulated	17	2	19
2015	Insulated (grouped)	100mm or more	91%	96%	92%		2015	Insulated (grouped)	100mm or more	1,332	347	1,680
2015	Insulated (grouped)	200mm or more	61%	75%	64%		2015	Insulated (grouped)	200mm or more	890	271	1,161
2015	Insulated	1mm - 99mm	8%	4%	7%		2015	Insulated	1mm - 99mm	113	13	125
2015	Insulated	100mm - 199mm	30%	21%	28%		2015	Insulated	100mm - 199mm	442	76	518
2015	Insulated	200mm - 299mm	31%	33%	32%		2015	Insulated	200mm - 299mm	455	121	576
2015	Insulated	300mm or more	30%	41%	32%		2015	Insulated	300mm or more	435	150	585
2015	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2015	All Insulation Status	All Applicable Dwellings [note 1]	1,462	362	1,824
2014	Not insulated	Not insulated	1%	[w]	1%		2014	Not insulated	Not insulated	15	[w]	15
2014	Insulated (grouped)	100mm or more	90%	98%	91%		2014	Insulated (grouped)	100mm or more	1,287	364	1,651
2014	Insulated (grouped)	200mm or more	59%	72%	62%		2014	Insulated (grouped)	200mm or more	855	268	1,123
2014	Insulated	1mm - 99mm	9%	2%	8%		2014	Insulated	1mm - 99mm	135	7	143
2014	Insulated	100mm - 199mm	30%	26%	29%		2014	Insulated	100mm - 199mm	432	96	528
2014	Insulated	200mm - 299mm	33%	43%	35%		2014	Insulated	200mm - 299mm	481	158	639
2014	Insulated	300mm or more	26%	30%	27%		2014	Insulated	300mm or more	374	110	484
2014	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2014	All Insulation Status	All Applicable Dwellings [note 1]	1,437	371	1,809
2013	Not insulated	Not insulated	2%	[low]	2%		2013	Not insulated	Not insulated	26	1	27
2013	Insulated (grouped)	100mm or more	91%	97%	92%		2013	Insulated (grouped)	100mm or more	1,295	334	1,652
2013	Insulated (grouped)	200mm or more	60%	71%	62%		2013	Insulated (grouped)	200mm or more	860	244	1,118
2013	Insulated	1mm - 99mm	7%	2%	6%		2013	Insulated	1mm - 99mm	103	8	113
2013	Insulated	100mm - 199mm	31%	26%	30%		2013	Insulated	100mm - 199mm	434	91	534
2013	Insulated	200mm - 299mm	38%	40%	38%		2013	Insulated	200mm - 299mm	540	139	689
2013	Insulated	300mm or more	22%	31%	24%		2013	Insulated	300mm or more	320	105	429
2013	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2013	All Insulation Status	All Applicable Dwellings [note 1]	1,424	344	1,793
2012	Not insulated	Not insulated	2%	[low]	2%		2012	Not insulated	Not insulated	30	1	31
2012	Insulated (grouped)	100mm or more	87%	93%	88%		2012	Insulated (grouped)	100mm or more	1,226	339	1,592
2012	Insulated (grouped)	200mm or more	52%	62%	54%		2012	Insulated (grouped)	200mm or more	730	227	975
2012	Insulated	1mm - 99mm	11%	7%	10%		2012	Insulated	1mm - 99mm	157	25	185
2012	Insulated	100mm - 199mm	35%	31%	34%		2012	Insulated	100mm - 199mm	496	111	617
2012	Insulated	200mm - 299mm	36%	42%	37%		2012	Insulated	200mm - 299mm	503	152	667
2012	Insulated	300mm or more	16%	21%	17%		2012	Insulated	300mm or more	226	76	308
2012	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2012	All Insulation Status	All Applicable Dwellings [note 1]	1,413	364	1,809
2011	Not insulated	Not insulated	2%	[low]	2%		2011	Not insulated	Not insulated	31	1	32
2011	Insulated (grouped)	100mm or more	84%	94%	86%		2011	Insulated (grouped)	100mm or more	1,188	369	1,557
2011	Insulated (grouped)	200mm or more	41%	57%	45%		2011	Insulated (grouped)	200mm or more	589	223	812
2011	Insulated	1mm - 99mm	14%	6%	12%		2011	Insulated	1mm - 99mm	201	24	225
2011	Insulated	100mm - 199mm	42%	37%	41%		2011	Insulated	100mm - 199mm	599	146	745
2011	Insulated	200mm - 299mm	32%	45%	35%		2011	Insulated	200mm - 299mm	452	175	628
2011	Insulated	300mm or more	10%	12%	10%		2011	Insulated	300mm or more	137	47	184
2011	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2011	All Insulation Status	All Applicable Dwellings [note 1]	1,420	394	1,814
2010	Not insulated	Not insulated	3%	[low]	2%		2010	Not insulated	Not insulated	41	1	42
2010	Insulated (grouped)	100mm or more	79%	90%	82%		2010	Insulated (grouped)	100mm or more	1,091	353	1,444
2010	Insulated (grouped)	200mm or more	32%	46%	35%		2010	Insulated (grouped)	200mm or more	441	180	621
2010	Insulated	1mm - 99mm	18%	10%	16%		2010	Insulated	1mm - 99mm	241	38	279
2010	Insulated	100mm - 199mm	47%	44%	47%		2010	Insulated	100mm - 199mm	650	172	822
2010	Insulated	200mm - 299mm	28%	37%	30%		2010	Insulated	200mm - 299mm	382	145	527
2010	Insulated	300mm or more	4%	9%	5%		2010	Insulated	300mm or more	59	36	94
2010	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2010	All Insulation Status	All Applicable Dwellings [note 1]	1,373	392	1,764
2009	Not insulated	Not insulated	6%	2%	5%		2009	Not insulated	Not insulated	87	10	96
2009	Insulated (grouped)	100mm or more	73%	84%	75%		2009	Insulated (grouped)	100mm or more	1,018	339	1,357
2009	Insulated (grouped)	200mm or more	24%	37%	27%		2009	Insulated (grouped)	200mm or more	335	150	485
2009	Insulated	1mm - 99mm	21%	13%	19%		2009	Insulated	1mm - 99mm	296	53	349
2009	Insulated	100mm - 199mm	49%	47%	48%		2009	Insulated	100mm - 199mm	683	190	872
2009	Insulated	200mm - 299mm	[x]	[x]	[x]		2009	Insulated	200mm - 299mm	[x]	[x]	[x]
2009	Insulated	300mm or more	[x]	[x]	[x]		2009	Insulated	300mm or more	[x]	[x]	[x]
2009	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2009	All Insulation Status	All Applicable Dwellings [note 1]	1,401	402	1,803
2008	Not insulated	Not insulated	6%	3%	6%		2008	Not insulated	Not insulated	89	12	101
2008	Insulated (grouped)	100mm or more	70%	83%	73%		2008	Insulated (grouped)	100mm or more	983	307	1,290
2008	Insulated (grouped)	200mm or more	23%	39%	27%		2008	Insulated (grouped)	200mm or more	325	146	471
2008	Insulated	1mm - 99mm	24%	14%	22%		2008	Insulated	1mm - 99mm	333	53	386
2008	Insulated	100mm - 199mm	47%	43%	46%		2008	Insulated	100mm - 199mm	658	160	818
2008	Insulated	200mm - 299mm	[x]	[x]	[x]		2008	Insulated	200mm - 299mm	[x]	[x]	[x]
2008	Insulated	300mm or more	[x]	[x]	[x]		2008	Insulated	300mm or more	[x]	[x]	[x]
2008	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2008	All Insulation Status	All Applicable Dwellings [note 1]	1,405	371	1,777
2007	Not insulated	Not insulated	6%	2%	5%		2007	Not insulated	Not insulated	89	9	99
2007	Insulated (grouped)	100mm or more	67%	83%	71%		2007	Insulated (grouped)	100mm or more	930	350	1,280
2007	Insulated (grouped)	200mm or more	18%	34%	22%		2007	Insulated (grouped)	200mm or more	244	145	388
2007	Insulated	1mm - 99mm	26%	15%	24%		2007	Insulated	1mm - 99mm	363	63	426
2007	Insulated	100mm - 199mm	50%	49%	49%		2007	Insulated	100mm - 199mm	687	205	892
2007	Insulated	200mm - 299mm	[x]	[x]	[x]		2007	Insulated	200mm - 299mm	[x]	[x]	[x]
2007	Insulated	300mm or more	[x]	[x]	[x]		2007	Insulated	300mm or more	[x]	[x]	[x]
2007	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2007	All Insulation Status	All Applicable Dwellings [note 1]	1,382	422	1,805
2005/ 2006	Not insulated	Not insulated	7%	2%	6%		2005/ 2006	Not insulated	Not insulated	96	9	104
2005/ 2006	Insulated (grouped)	100mm or more	70%	83%	73%		2005/ 2006	Insulated (grouped)	100mm or more	988	314	1,302
2005/ 2006	Insulated (grouped)	200mm or more	16%	24%	18%		2005/ 2006	Insulated (grouped)	200mm or more	224	92	315
2005/ 2006	Insulated	1mm - 99mm	23%	15%	21%		2005/ 2006	Insulated	1mm - 99mm	328	56	384
2005/ 2006	Insulated	100mm - 199mm	54%	59%	55%		2005/ 2006	Insulated	100mm - 199mm	765	222	987
2005/ 2006	Insulated	200mm - 299mm	[x]	[x]	[x]		2005/ 2006	Insulated	200mm - 299mm	[x]	[x]	[x]
2005/ 2006	Insulated	300mm or more	[x]	[x]	[x]		2005/ 2006	Insulated	300mm or more	[x]	[x]	[x]
2005/ 2006	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2005/ 2006	All Insulation Status	All Applicable Dwellings [note 1]	1,412	378	1,791
2004/ 2005	Not insulated	Not insulated	6%	2%	5%		2004/ 2005	Not insulated	Not insulated	87	9	96
2004/ 2005	Insulated (grouped)	100mm or more	66%	82%	70%		2004/ 2005	Insulated (grouped)	100mm or more	930	341	1,272
2004/ 2005	Insulated (grouped)	200mm or more	13%	26%	16%		2004/ 2005	Insulated (grouped)	200mm or more	183	106	289
2004/ 2005	Insulated	1mm - 99mm	28%	16%	25%		2004/ 2005	Insulated	1mm - 99mm	395	65	460
2004/ 2005	Insulated	100mm - 199mm	53%	57%	54%		2004/ 2005	Insulated	100mm - 199mm	747	235	982
2004/ 2005	Insulated	200mm - 299mm	[x]	[x]	[x]		2004/ 2005	Insulated	200mm - 299mm	[x]	[x]	[x]
2004/ 2005	Insulated	300mm or more	[x]	[x]	[x]		2004/ 2005	Insulated	300mm or more	[x]	[x]	[x]
2004/ 2005	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2004/ 2005	All Insulation Status	All Applicable Dwellings [note 1]	1,413	416	1,828
2003/ 2004	Not insulated	Not insulated	7%	3%	6%		2003/ 2004	Not insulated	Not insulated	98	12	110
2003/ 2004	Insulated (grouped)	100mm or more	64%	81%	68%		2003/ 2004	Insulated (grouped)	100mm or more	893	318	1,211
2003/ 2004	Insulated (grouped)	200mm or more	12%	22%	14%		2003/ 2004	Insulated (grouped)	200mm or more	171	87	258
2003/ 2004	Insulated	1mm - 99mm	29%	16%	26%		2003/ 2004	Insulated	1mm - 99mm	401	62	462
2003/ 2004	Insulated	100mm - 199mm	52%	59%	53%		2003/ 2004	Insulated	100mm - 199mm	721	231	953
2003/ 2004	Insulated	200mm - 299mm	[x]	[x]	[x]		2003/ 2004	Insulated	200mm - 299mm	[x]	[x]	[x]
2003/ 2004	Insulated	300mm or more	[x]	[x]	[x]		2003/ 2004	Insulated	300mm or more	[x]	[x]	[x]
2003/ 2004	All Insulation Status	All Applicable Dwellings [note 1]	100%	100%	100%		2003/ 2004	All Insulation Status	All Applicable Dwellings [note 1]	1,391	393	1,783
2022		Sample size (number)	1,942	416	2,358
2021		Sample size (number)	[x]	[x]	[x]
2020		Sample size (number)	[x]	[x]	[x]
2019		Sample size (number)	1,924	479	2,403
2018		Sample size (number)	1,874	472	2,346
2017		Sample size (number)	1,895	464	2,359
2016		Sample size (number)	1,793	473	2,266
2015		Sample size (number)	1,753	437	2,190
2014		Sample size (number)	1,708	432	2,140
2013		Sample size (number)	1,719	409	2,158
2012		Sample size (number)	1,728	458	2,225
2011		Sample size (number)	2,039	555	2,594
2010		Sample size (number)	1,942	537	2,479
2009		Sample size (number)	2,079	605	2,684
2008		Sample size (number)	1,926	483	2,409
2007		Sample size (number)	1,892	582	2,474
2005/ 2006		Sample size (number)	2,034	534	2,568
2004/ 2005		Sample size (number)	2,026	538	2,564
2003/ 2004		Sample size (number)	1,954	597	2,551

## Figure_EE3
Figure EE3: Loft insulation (where applicable) by tenure, 2003/2004 to 2022 [note 1]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Two line charts showing the percentage of dwellings with insulated loft (100mm or more) and non- insulated lofts by tenure from 2003/2004 to 2022. In 2022, % of 95% private sector dwellings had a loft insulation of 100 or more, lower than 98% of dwellings in the social sector. In both private 1% of the lofts were uninsulated and in social sector less than 0.5% of the dwelling had a non-insulated loft. The proportion of private and social sector housing with 100 mm or more of loft insulation has increased throughout the years. Most of this improvement occurred before 2013. / Data Source: Table_EE2a_Percentage_of_dwellings_by_loft_insulation_and_tenure

## Figure_EE4
Figure EE4: Depth of loft insulation (where applicable) by tenure, 2003/2004 to 2022 [note 1]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Four line charts showing the percentage of occupied dwellings by depth of loft insulation from 2003/2004 to 2022. In 2022, 30% of private sector dwellings had a high standard (300 mm or more) of loft insulation, lower than 43% of dwellings in the social sector. 95% of private housing lofts were insulated to 100 mm or more and 63% to at least 200 mm. In the social sector, 98% of dwellings had lofts insulated to 100 mm or more, and 76% had at least 200 mm of loft insulation. The difference in the proportion of lofts with at least 100 mm insulation between the private and the social sector has been reducing gradually, from 17 percentage points in 2003/04 (81% in the social and 64% in the private sector) to 3 percentage points in 2022 (98% in the social sector and 95% in the private sector). / Data Source: Table_EE2a_Percentage_of_dwellings_by_loft_insulation_and_tenure

## Table_EE3a_and_EE3b
Table EE3a and EE3b: Wall insulation by wall type, 2012 to 2022
This worksheet contains two tables presented next to each other horizontally, with one blank column between them.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Table EE3a: Percentage of dwellings by wall insulation status and wall type, 2012 to 2022 [note 2] [note 10]					Table EE3b: Number of dwellings by wall insulation status and wall type, 2012 to 2022 [note 2] [note 10]
Wall Type	Insulation Status	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022		Wall Type	Insulation Status	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022
Cavity Wall	Un-insulated	34%	31%	29%	29%	28%	25%	27%	27%	[x]	[x]	31%		Cavity Wall	Un-insulated	606	554	518	525	512	457	500	510	[x]	[x]	597
Cavity Wall	Insulated	66%	69%	71%	71%	72%	75%	73%	73%	[x]	[x]	69%		Cavity Wall	Insulated	1,157	1,218	1,287	1,286	1,323	1,363	1,331	1,359	[x]	[x]	1,332
Cavity Wall	Total	100%	100%	100%	100%	100%	100%	100%	100%	[x]	[x]	100%		Cavity Wall	Total	1,763	1,772	1,805	1,811	1,834	1,821	1,831	1,870	[x]	[x]	1,929
Solid/Other Wall	Un-insulated	89%	89%	86%	89%	85%	82%	81%	82%	[x]	[x]	84%		Solid/Other Wall	Un-insulated	557	559	528	552	524	529	524	516	[x]	[x]	521
Solid/Other Wall	Insulated	11%	11%	14%	11%	15%	18%	19%	18%	[x]	[x]	16%		Solid/Other Wall	Insulated	66	71	85	71	94	115	122	110	[x]	[x]	100
Solid/Other Wall	Total	100%	100%	100%	100%	100%	100%	100%	100%	[x]	[x]	100%		Solid/Other Wall	Total	623	630	613	623	617	643	646	626	[x]	[x]	621
Cavity Wall	Sample size (number)	2,076	2,051	2,017	2,099	2,154	2,284	2,240	2,278	[x]	[x]	2,214
Solid/Other Wall	Sample size (number)	711	674	663	655	696	718	724	719	[x]	[x]	769

## Figure_EE5
Figure EE5: Cavity wall insulation, 2012 to 2022 [note 2]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Line chart showing the percentage of dwellings with insulated and uninsulated cavity walls from 2012 to 2022. In 2022, 69% of cavity wall dwellings in Scotland were insulated. The longer term trend, showing a decrease in the share of uninsulated cavity walls of 3 percentage points since 2012. / Data Source: Table_EE3a_Percentage_of_dwellings_by_wall_insulation_status_and_wall_type

## Figure_EE6
Figure EE6: Wall insulation of solid and other wall types, 2012 to 2022 [note 2] [note 10]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Line chart showing the percentage of dwellings with insulated and uninsulated walls (solid and ither types) from 2012 to 2022. 16% of dwellings in this category had insulated walls in 2022; the difference with the level recorded in 2019 (19%) is not statistically significant but is an increase of 7 percentage points from 2012. Only 769 dwellings with solid walls were surveyed in 2022 as part of the SHCS. / Data Source: Table_EE3a_Percentage_of_dwellings_by_wall_insulation_status_and_wall_type

## Table_EE4a_and_EE4b
Table EE4a and EE4b: Wall insulation by wall type and tenure, 2022
This worksheet contains two tables presented next to each other horizontally, with one blank column between them.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Table EE4a : Percentage of dwellings by wall insulation, wall type and tenure, 2022 [note 10]					Table EE4b : Number of dwellings by wall insulation, wall type and tenure, 2022 [note 10]
Wall Type	Insulation Status	Wall/ Insulation Categories	Private Sector / (%)	Social Sector / (%)	All Tenures / (%)		Wall Type	Insulation Status	Wall/ Insulation Categories	Private Sector (thousands)	Social Sector (thousands)	All Tenures (thousands)
Cavity	Un-insulated	HTTC wall	8%	11%	9%		Cavity	Un-insulated	HTTC wall	117	59	176
Cavity	Un-insulated	Standard wall	23%	19%	22%		Cavity	Un-insulated	Standard wall	319	102	421
Cavity	Un-insulated	All wall categories	32%	30%	31%		Cavity	Un-insulated	All wall categories	436	160	597
Cavity	Insulated	CWI insulation	28%	33%	30%		Cavity	Insulated	CWI insulation	394	182	575
Cavity	Insulated	Int/External insulation	4%	12%	6%		Cavity	Insulated	Int/External insulation	56	65	121
Cavity	Insulated	As built insulation	36%	25%	33%		Cavity	Insulated	As built insulation	499	136	635
Cavity	Insulated	All insulation categories	68%	70%	69%		Cavity	Insulated	All insulation categories	948	383	1,332
Cavity	All Insulation Status	All categories	100%	100%	100%		Cavity	All Insulation Status	All categories	1,385	544	1,929
Solid/Other	Un-insulated	Pre-1919 wall	72%	29%	67%		Solid/Other	Un-insulated	Pre-1919 wall	400	19	418
Solid/Other	Un-insulated	Post-1919 wall	15%	31%	17%		Solid/Other	Un-insulated	Post-1919 wall	83	20	103
Solid/Other	Un-insulated	All wall categories	87%	60%	84%		Solid/Other	Un-insulated	All wall categories	482	39	521
Solid/Other	Insulated	Retrofit insulation	10%	36%	13%		Solid/Other	Insulated	Retrofit insulation	58	24	81
Solid/Other	Insulated	As built insulation	3%	4%	3%		Solid/Other	Insulated	As built insulation	16	2	19
Solid/Other	All Insulation Status	All insulation categories	13%	40%	16%		Solid/Other	All Insulation Status	All insulation categories	74	26	100
Solid/Other	All Insulation Status	All categories	100%	100%	100%		Solid/Other	All Insulation Status	All categories	556	65	621
All Wall Types	Un-insulated	All wall categories	47%	33%	44%		All Wall Types	Un-insulated	All wall categories	919	199	1,118
All Wall Types	Insulated	All insulation categories	53%	67%	56%		All Wall Types	Insulated	All insulation categories	1,022	409	1,432
All Wall Types	All Insulation Status	All categories	100%	100%	100%		All Wall Types	All Insulation Status	All categories	1,941	608	2,550
Cavity	All Insulation Status	Sample size (number)	1,641	573	2,214
Solid/Other	All Insulation Status	Sample size (number)	707	62	769
All Wall Types	All Insulation Status	Sample size (number)	2,348	635	2,983

## Table_EE5a_and_EE5b
Table EE5a and EE5b: Gas and oil boiler types and characteristics, 2012 to 2022
This worksheet contains two tables presented next to each other horizontally, with one blank column between them.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Table EE5a : Percentage of dwellings by gas and oil boiler types and characteristics, 2012 to 2022					Table EE5b: Number of dwellings by gas and oil boiler types and characteristics, 2012 to 2022
Gas and oil boiler characteristics	Category	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022		Gas and oil boiler characteristics	Category	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022
Main Heating System (MHS) Boiler Type	Standard or Combi	56%	52%	49%	41%	36%	30%	25%	22%	[x]	[x]	15%		Main Heating System (MHS) Boiler Type	Standard or Combi	1,093	1,053	992	856	745	633	548	480	[x]	[x]	338
Main Heating System (MHS) Boiler Type	Condensing	38%	43%	48%	56%	61%	67%	73%	76%	[x]	[x]	84%		Main Heating System (MHS) Boiler Type	Condensing	753	860	976	1,158	1,289	1,415	1,577	1,649	[x]	[x]	1,851
Main Heating System (MHS) Boiler Type	Other	6%	5%	4%	3%	3%	3%	2%	1%	[x]	[x]	1%		Main Heating System (MHS) Boiler Type	Other	114	109	73	61	63	57	45	30	[x]	[x]	19
Main Heating System (MHS) Boiler Type	Total	100%	100%	100%	100%	100%	100%	100%	100%	100%	100%	100%		Main Heating System (MHS) Boiler Type	Totals	1,597	1,685	1,742	1,843	2,097	2,104	2,171	2,159	[x]	[x]	2,211
Gas or Oil Boiler Age	post- 1998 ("new boilers")	81%	83%	85%	89%	91%	91%	92%	94%	[x]	[x]	96%		Gas or Oil Boiler Age	post- 1998 ("new boilers")	1,597	1,685	1,742	1,843	1,921	1,918	2,006	2,030	[x]	[x]	2,126
Gas or Oil Boiler Age	pre-1998	17%	16%	14%	11%	8%	9%	7%	6%	[x]	[x]	4%		Gas or Oil Boiler Age	pre-1998	341	323	293	231	174	183	159	126	[x]	[x]	81
Gas or Oil Boiler Age	Total	100%	100%	100%	100%	100%	100%	100%	100%	100%	100%	100%		Gas or Oil Boiler Age	Total	3,349	3,375	3,245	3,185	2,104	2,109	2,172	2,163	[x]	[x]	2,212
Meets Building Standards requirements / for new boilers	Yes	30%	33%	41%	47%	52%	57%	62%	64%	[x]	[x]	75%		Meets Building Standards requirements / for new boilers	Yes	583	677	845	971	1,092	1,198	1,353	1,371	[x]	[x]	1,664
Meets Building Standards requirements / for new boilers	No	70%	67%	59%	53%	48%	43%	38%	36%	[x]	[x]	25%		Meets Building Standards requirements / for new boilers	No	1,377	1,346	1,196	1,104	1,006	907	818	788	[x]	[x]	545
Meets Building Standards requirements / for new boilers	Total	100%	100%	100%	100%	100%	100%	100%	100%	100%	100%	100%		Meets Building Standards requirements / for new boilers	Total	1,960	2,022	2,041	2,075	2,097	2,104	2,171	2,159	[x]	[x]	2,209
Main Heating System (MHS) Boiler Type	Sample size (number)	2,222	2,219	2,195	2,259	2,356	2,475	2,489	2,518	[x]	[x]	2449
Gas or Oil Boiler Age	Sample size (number)	2,233	2,229	2,203	2,264	2,362	2,479	2,491	2,522	[x]	[x]	2448
Meets Building Standards requirements / for new boilers	Sample size (number)	2,222	2,219	2,195	2,259	2,356	2,475	2,489	2,518	[x]	[x]	2447

## Figure_EE7
Figure EE7: Gas and oil boiler types and characteristics, 2012 to 2022
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Line chart showing the percentage of occupied dwellings by depth of loft insulation. In 2022 the survey found that 96% of the domestic gas and oil boilers in Scotland have been installed since 1998, when the European Boiler Efficiency Directive minimum standards came into effect. The proportion of new boilers, those installed since 1998, has increased by 15 percentage points since 2012. In 2022, 84% of gas and oil boilers were condensing boilers. This represents a 46 percentage points since 2012. Three-quarters (75%) of gas and oil boilers met the minimum efficiencies specified by the current Building Standards. This has increased substantially from 30% in 2012. / Data Source: Table_EE5a_Percentage_of_dwellings_by_gas_and_oil_boiler_types_and_characteristics

## Table_EE6
Table EE6: Average Energy Efficiency Rate (EER), 2010 to 2022 [note 8] [note 10]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Energy Efficiency Rate (EER)	Measure	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022
SAP 2012	Mean	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	64.7	64.9	[x]	[x]	66.6
SAP 2012	Median	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	67	67	[x]	[x]	69
SAP 2009	Mean	59.9	60.9	61.8	63.2	64.1	64.6	65.1	65.6	66.1	66.4	[x]	[x]	67.7
SAP 2009	Median	62	63	64	66	67	67	67	68	68	69	[x]	[x]	70
	Sample size (number)	3,115	3,219	2,787	2,725	2,682	2,754	2,850	3,002	2,964	2,997	[x]	[x]	2,983

## Infographic_EE1
Infographic EE1: Mean and median EER relative to EPC bands (SAP 2009), 2010-2022 [note 10]
This worksheet contains the image of an infographic and a text description of this infographic.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Infographic showing the mean and median EER relative to EPC bands (SAP 2009), from 2010 to 2022. The mean EERs rose from 59.9 in 2010 to 67.7 in 2022. These ratings fall into band D. There was around a 1 point increase in the mean EER each year between 2010 and 2014. Improvement since then has been slower, and the increase between 2019 and 2022 was around 1%. The median EE Rating has also improved since 2010. In 2022, half of all Scottish dwellings were rated 70 or better, fall into EPC band C, and an increase from 62 in 2010. / Data Source: Table_EE6_Average_Energy_Efficiency_Rate_EER

## Infographic_EE2
Infographic EE2: Mean and median EER relative to EPC bands (SAP 2012), 2018-2022 [note 8] [note 10]
This worksheet contains the image of an infographic and a text description of this infographic.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Infographic showing the mean and median EER relative to EPC bands (SAP 2012), from 2010 to 2022. In 2022, the mean energy efficiency rating of the Scottish housing stock under SAP 2012 was 66.6 and the median was 69 points, indicating that half of the housing stock has an energy efficiency rating of 69 or better. / Data Source: Table_EE6_Average_Energy_Efficiency_Rate_EER

## Table_EE7a_and_EE7b
Table EE7a and EE7b: Distribution of the Scottish housing stock by EPC band, 2010 to 2022
This worksheet contains two tables presented next to each other horizontally, with one blank column between them.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Table EE7a: Percentage of dwellings by EPC band and EER, 2010 to 2022 [note 8] [note 9] [note 10]					Table EE7b: Number of dwellings by EPC band and EER, 2010 to 2022 [note 8] [note 9] [note 10]
Energy Efficiency Rate (EER)	EPC Band	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022		Energy Efficiency Rate (EER)	EPC Band	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022
SAP 2012	A (92-100)	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[x]	[x]	[x]	[x]	[low]		SAP 2012	A (92-100)	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[x]	[x]	[x]	[x]	3
SAP 2012	B (81-91)	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	3%	4%	[x]	[x]	6%		SAP 2012	B (81-91)	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	68	92	[x]	[x]	143
SAP 2012	C (69-80)	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	40%	41%	[x]	[x]	47%		SAP 2012	C (69-80)	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	989	1,026	[x]	[x]	1,190
SAP 2012	D (55-68)	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	42%	41%	[x]	[x]	36%		SAP 2012	D (55-68)	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	1,039	1,016	[x]	[x]	908
SAP 2012	E (39-54)	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	11%	10%	[x]	[x]	8%		SAP 2012	E (39-54)	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	282	250	[x]	[x]	213
SAP 2012	F (21-38)	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	3%	4%	[x]	[x]	3%		SAP 2012	F (21-38)	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	83	90	[x]	[x]	72
SAP 2012	G (1-20)	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	1%	1%	[x]	[x]	1%		SAP 2012	G (1-20)	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	17	22	[x]	[x]	21
SAP 2012	All EPC Bands	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	100%	100%	[x]	[x]	100%		SAP 2012	All EPC Bands	[z]	[z]	[z]	[z]	[z]	[z]	[z]	[z]	2,477	2,496	[x]	[x]	2,550
SAP 2009	A (92-100)	[x]	[x]	[x]	[x]	[x]	[x]	[x]	[x]	[x]	[x]	[x]	[x]	[w]		SAP 2009	A (92-100)	[x]	[x]	[x]	[x]	[x]	[x]	[x]	[x]	[x]	[x]	[x]	[x]	[w]
SAP 2009	B (81-91)	1%	1%	1%	1%	2%	3%	2%	3%	3%	4%	[x]	[x]	5%		SAP 2009	B (81-91)	18	25	20	29	42	62	54	69	70	101	[x]	[x]	140
SAP 2009	C (69-80)	23%	26%	29%	35%	39%	39%	40%	44%	46%	47%	[x]	[x]	51%		SAP 2009	C (69-80)	547	606	699	851	939	953	989	1,072	1,140	1,176	[x]	[x]	1,308
SAP 2009	D (55-68)	49%	50%	50%	45%	43%	43%	44%	41%	39%	37%	[x]	[x]	34%		SAP 2009	D (55-68)	1,157	1,191	1,184	1,072	1,037	1,055	1,070	1,012	971	925	[x]	[x]	861
SAP 2009	E (39-54)	21%	18%	16%	15%	13%	12%	11%	10%	9%	9%	[x]	[x]	7%		SAP 2009	E (39-54)	495	431	381	359	321	298	279	240	232	213	[x]	[x]	174
SAP 2009	F (21-38)	5%	4%	3%	3%	3%	2%	2%	3%	2%	3%	[x]	[x]	2%		SAP 2009	F (21-38)	127	96	82	84	68	59	56	63	57	70	[x]	[x]	54
SAP 2009	G (1-20)	1%	1%	1%	[low]	1%	[low]	[low]	[low]	[low]	[low]	[x]	[x]	[low]		SAP 2009	G (1-20)	13	19	21	8	14	7	5	8	8	10	[x]	[x]	13
SAP 2009	All EPC Bands	100%	100%	100%	100%	100%	100%	100%	100%	100%	100%	[x]	[x]	100%		SAP 2009	All EPC Bands	2,357	2,368	2,386	2,402	2,420	2,434	2,452	2,464	2,477	2,496	[x]	[x]	2,550
	Sample size (number)	3,115	3,219	2,787	2,725	2,682	2,754	2,850	3,002	2,964	2,997	[x]	[x]	2,983

					24%	56%
					32%

## Figure_EE8
Figure EE8: Distribution of the Scottish housing stock by grouped EPC band (SAP 2009), 2010 to 2022 [note 9] [note 10]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Line chart showing the distribution of the Scottish housing stock by grouped EPC band (SAP 2009),from 2010 to 2022. 56% of the housing stock in 2022 had an EPC rating of C or better, up 32 percentage points since 2010. Over the same period, the proportion of properties in the lowest EPC bands, E, F and G, has dropped 18 percentage points: 27% of properties were rated E, F or G in 2010 compared with 9% in 2022. / Data Source: Table_EE7a_Percentage_of_dwellings_by_EPC_band_and_EER

## Figure_EE9
Figure EE9: Distribution of the Scottish housing stock by grouped EPC band (SAP 2012), 2018 to 2022 [note 9] [note 10]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Line chart showing the distribution of the Scottish housing stock by grouped EPC band (SAP 2012),from 2018 to 2022. 53% of all properties in 2022 were rated C or better under SAP 2012 (RdSAP v9.93), compared to 45% in 2019. 12% of properties in 2022 were in bands E, F or G, down from 15% in 2019. / Data Source: Table_EE7a_Percentage_of_dwellings_by_EPC_band_and_EER

## Table_EE8a_and_EE8b
Table EE8a and EE8b: EPC band by tenure in 2022, SAP 2012 [note 8] [note 10]
This worksheet contains two tables presented next to each other horizontally, with one blank column between them.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Table EE8a: Percentage of dwellings by EPC band and tenure in 2022.					Table EE8b: Number of dwellings by EPC band and tenure in 2022.
EPC band	Owner occupied / (%)	Private rented / (%)	Social sector / (%)	All Tenures / (%)		EPC band	Owner occupied / (thousands)	Private rented / (thousands)	Social sector / (thousands)	All Tenures / (thousands)
A (92-100)	[c]	[w]	[c]	[low]		A (92-100)	[c]	[w]	[c]	3
B (81-91)	5%	5%	8%	6%		B (81-91)	79	13	51	143
C (69-80)	43%	45%	57%	47%		C (69-80)	709	131	350	1,190
D (55-68)	38%	31%	31%	36%		D (55-68)	629	92	187	908
E (39-54)	10%	12%	3%	8%		E (39-54)	161	36	16	213
F (21-38)	3%	5%	1%	3%		F (21-38)	52	15	5	72
G (1-20)	1%	2%	[w]	1%		G (1-20)	16	5	[w]	21
Total	100%	100%	100%	100%		Total	1,648	293	609	2,550
Sample size (number)	2,041	307	635	2,983

## Figure_EE10
Figure EE10: EPC band by tenure in 2022,
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Bar chart showing the distribution of the Scottish housing stock by grouped EPC band (SAP 2012) and tenure in 2022. 65% of social housing is in band C or better under SAP 2012 (RdSAP v9.93), compared to 50% in the private rented sector and to 48% in the owner-occupied sector. Around 4% of dwellings in the social sector are within EPC bands E, F or G, while 14% of owner occupied dwellings and 19% of the private rented sector are within these EPC bands. Housing in the social sector tends to be more energy efficient than the owner occupied or private rented sector. This could be driven by the Scottish Housing Quality Standard and the Energy Efficiency Standard for Social Housing which introduced minimum energy efficiency levels for that sector. / Data Source: Table_EE8a_Percentage_of_dwellings_by_EPC_band_and_tenure

## Table_EE9
Table EE9: Mean EER and broad EPC band, by household characteristics, in 2022 [note 8] [note 10]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Household / Characteristics	Category	SAP 2012 / Ratings - Mean	EPC Band / ABC (%)	EPC Band / DE (%)	EPC Band / FG (%)	Sample size / (number)
Tenure	Owned outright	64.3	43%	52%	5%	1,272
Tenure	Mortgaged	67.3	56%	42%	3%	769
Tenure	LA	68.8	58%	41%	1%	375
Tenure	HA	73.2	78%	22%	[low]	260
Tenure	Private rented	64.5	49%	44%	7%	307
Tenure (grouped)	Private Sector	65.3	48%	47%	5%	2,348
Tenure (grouped)	Social Sector	70.5	66%	33%	1%	635
Household Composition	Older Households	64.6	45%	50%	5%	1,104
Household Composition	Families	68.4	60%	38%	2%	593
Household Composition	Other Households	67.5	55%	42%	3%	1,286
Annual Household Income	< £15,000	66.6	49%	48%	2%	478
Annual Household Income	£15,000 - £24,999	67.1	55%	42%	3%	739
Annual Household Income	£25,000 - £34,999	66.1	50%	44%	5%	534
Annual Household Income	£35,000 - £44,999	66.4	54%	43%	3%	379
Annual Household Income	£45,000+	66.4	53%	43%	4%	802
Council Tax Band	Band A	67.6	57%	40%	3%	525
Council Tax Band	Band B	66.5	54%	43%	3%	626
Council Tax Band	Band C	66.0	51%	45%	4%	467
Council Tax Band	Band D	66.0	51%	44%	5%	428
Council Tax Band	Band E	67.2	52%	45%	3%	472
Council Tax Band	Band F	66.3	49%	48%	2%	253
Council Tax Band	Band G & H	65.1	45%	49%	6%	212
All households	All households	66.6	52%	44%	4%	2,983

## Table_EE10
Table EE10: Mean EER and broad EPC band, by dwelling characteristics, in 2022 [note 8] [note 10]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Dwelling / Characteristics	Category	SAP 2012 / Ratings - Mean	EPC Band / ABC (%)	EPC Band / DE (%)	EPC Band / FG (%)	Sample size / (number)
Dwelling Type	Detached	63.2	44%	49%	8%	880
Dwelling Type	Semi-detached	64.2	40%	57%	3%	645
Dwelling Type	Terraced	66.5	48%	50%	2%	591
Dwelling Type	Tenement	70.3	68%	31%	2%	535
Dwelling Type	Other flats	69.5	67%	32%	2%	332
Dwelling Age	pre-1919	58.8	29%	60%	11%	593
Dwelling Age	1919-1944	64.4	42%	55%	3%	317
Dwelling Age	1945-1964	64.8	43%	54%	3%	635
Dwelling Age	1965-1982	66.2	48%	50%	2%	629
Dwelling Age	post-1982	74.2	83%	17%	1%	809
Primary Heating Fuel	Gas	69.1	58%	41%	1%	2,187
Primary Heating Fuel	Oil	51.7	9%	74%	17%	264
Primary Heating Fuel	Electric	56.1	29%	55%	16%	454
Primary Heating Fuel	Other fuel type	60.2	49%	32%	19%	77
Urban-Rural Indicator [note 3]	Urban	68.2	56%	42%	2%	2,249
Urban-Rural Indicator [note 3]	Rural	58.6	33%	53%	14%	734
Gas Grid [note 4]	On grid	68.5	57%	41%	1%	2,334
Gas Grid [note 4]	Off grid	52.1	17%	63%	20%	649
All dwellings	All dwellings	66.6	52%	44%	4%	2,983

## Figure_EE11
Figure EE11: EPC band F or G dwellings by dwelling and household characteristics in 2022 (SAP 2012) [note 3] [note 4] [note 8]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Bar chart showing the percentage of homes in EPC band F or G by dwelling age, primary heating fuel, tenure and household and dwelling type in 2021, SAP 2012 (RdSAP v9.93). The share of dwellings in the lowest energy efficiency bands (F and G) is particularly high for pre-1919 dwellings (11%), non-gas heated properties (16% for electric, 17% for oil and 19% for other fuels), detached properties (8%), off gas grid properties (20%), rural areas (14%) and in the private rented stock (5%). Across Scotland as a whole, 4% of properties were in bands F or G in 2022. / Data Sources: / Table_EE9_Mean_EER_and_broad_EPC_band_by_household_characteristics_SAP_2012 / Table_EE10_Mean_EER_and_broad_EPC_band_by_dwelling_characteristics_SAP_2012

## Table_EE11
Table EE11: NHER scores and banded ratings by household characteristics in 2022
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Household / Characteristics	Category	NHER (emulated) / Mean	NHER Band / Good (%)	NHER Band / Moderate (%)	NHER Band / Poor (%)	Sample size / (number)
Tenure	Owned outright	7.4	76%	22%	2%	1,272
Tenure	Mortgaged	7.9	81%	17%	2%	769
Tenure	LA	8.2	90%	9%	1%	375
Tenure	HA	9.0	97%	3%	[low]	260
Tenure	Private rented	7.6	72%	25%	3%	307
Tenure (grouped)	Private Sector	7.6	77%	21%	2%	2,348
Tenure (grouped)	Social Sector	8.5	93%	7%	1%	635
Household Composition	Older Households	7.6	77%	21%	2%	1,104
Household Composition	Families	8.0	83%	15%	1%	593
Household Composition	Other Households	8.0	83%	15%	2%	1,286
Annual Household Income	< £15,000	7.9	83%	15%	2%	478
Annual Household Income	£15,000 - £24,999	8.0	82%	16%	2%	739
Annual Household Income	£25,000 - £34,999	7.8	81%	17%	2%	534
Annual Household Income	£35,000 - £44,999	7.7	78%	21%	1%	379
Annual Household Income	£45,000+	7.7	80%	18%	2%	802
Council Tax Band	Band A	8.1	87%	12%	1%	525
Council Tax Band	Band B	8.0	82%	16%	2%	739
Council Tax Band	Band C	7.8	81%	17%	2%	534
Council Tax Band	Band D	7.7	78%	21%	1%	379
Council Tax Band	Band E	7.7	80%	18%	2%	802
Council Tax Band	Band F	8.1	87%	12%	1%	525
Council Tax Band	Band G & H	7.8	83%	14%	3%	626
All households	All households	7.8	78%	20%	2%	467

## Table_EE12
Table EE12: NHER scores and banded ratings by dwelling characteristics in 2022 [note 10]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Dwelling / Characteristics	Category	NHER (emulated) / Mean	NHER Band / Good (%)	NHER Band / Moderate (%)	NHER Band / Poor (%)	Sample size / (number) [note 2]
Dwelling Type	Detached	7.300	73%	24%	3%	880
Dwelling Type	Semi-detached	7.300	74%	24%	2%	645
Dwelling Type	Terraced	7.700	83%	15%	1%	591
Dwelling Type	Tenement	8.500	86%	12%	1%	535
Dwelling Type	Other flats	8.300	90%	9%	1%	332
Dwelling Age	pre-1919	6.700	58%	38%	5%	593
Dwelling Age	1919-1944	7.400	78%	21%	2%	317
Dwelling Age	1945-1964	7.500	81%	17%	2%	635
Dwelling Age	1965-1982	7.700	84%	15%	1%	629
Dwelling Age	post-1982	9.100	95%	5%	1%	809
Primary Heating Fuel	Gas	8.200	89%	11%	[low]	2,187
Primary Heating Fuel	Oil	6.100	42%	54%	4%	264
Primary Heating Fuel	Electric	6.000	45%	44%	12%	454
Primary Heating Fuel	Other fuel type	7.400	63%	29%	8%	77
Urban-Rural Indicator [note 3]	Urban	8.000	85%	14%	1%	2,249
Urban-Rural Indicator [note 3]	Rural	6.700	60%	34%	6%	734
Gas Grid [note 4]	On grid	8.100	86%	13%	1%	2,334
Gas Grid [note 4]	Off grid	5.800	39%	52%	9%	649
All dwellings	All dwellings	7.800	81%	17%	2%	2,983

## Table_EE13
Table EE13: Modelled Emissions in Scottish housing, 2012-2022
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Dwelling Age	Dwelling Type	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022
Carbon Emissions: BEIS Domestic sector	Total (“Mt”)	13.7	12.0	12.7	12.3	10.4	10.0	9.4	8.8	8.7	[x]	[x]	[x]	[x]
Carbon Emissions: BEIS Domestic sector	per HH (t””)	5.8	5.0	5.3	5.1	4.3	4.1	3.8	3.6	3.5	[x]	[x]	[x]	[x]
Carbon Emissions: BEIS Domestic sector	% change per HH	5.8%	-12.8%	5.9%	-4.0%	-15.8%	-4.7%	-6.7%	-6.8%	-1.6%	[x]	[x]	[x]	[x]
Modelled emissions: SHCS	Total (“Mt”)	18.6	18.2	18.1	17.4	17.9	17.7	17.2	17.3	16.8	17.4	[x]	[x]	16.5
Modelled emissions: SHCS	per HH (“t”)	7.9	7.7	7.6	7.3	7.4	7.3	7.0	7.0	6.8	7.0	[x]	[x]	6.5
Modelled emissions: SHCS	% change per HH	-	-2.6%	-1.4%	-3.6%	1.1%	-1.8%	-3.0%	-0.2%	-3.2%	2.5%	[x]	[x]	-6.6%

## Table_EE14
Table EE14: Average floor area and average modelled annual carbon emissions by age and type of dwelling, 2022 [note 6]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Dwelling Age	Dwelling Type	Carbon Emissions / (tonnes/ year)	Carbon Emissions / (kg/sqm)	Average Floor Area / (square meter)
Pre-1919	Detached	15.6	109	167
Pre-1919	Semi-detached	12.0	84	151
Pre-1919	Terraced	10.6	81	137
Pre-1919	Tenement	5.0	72	74
Pre-1919	Other flats	7.3	80	97
Pre-1919	All dwelling types	9.2	84	115
1919-1982	Detached	9.5	77	131
1919-1982	Semi-detached	7.0	75	95
1919-1982	Terraced	5.9	72	85
1919-1982	Tenement	4.3	68	65
1919-1982	Other flats	4.4	63	71
1919-1982	All dwelling types	6.2	71	89
Post-1982	Detached	7.4	55	142
Post-1982	Semi-detached	4.7	59	84
Post-1982	Terraced	4.6	52	91
Post-1982	Tenement	3.1	50	65
Post-1982	Other flats	3.2	54	62
Post-1982	All dwelling types	5.2	54	100
All Dwelling ages	Detached	9.6	72	142
All Dwelling ages	Semi-detached	7.1	73	100
All Dwelling ages	Terraced	6.2	69	92
All Dwelling ages	Tenement	4.1	64	68
All Dwelling ages	Other flats	4.7	64	74
All Dwelling ages	All dwelling types	6.5	69	97

## Table_EE15
Table EE15: Average modelled emissions (kg per square meter) by tenure, 2010 to 2022 [note 7]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Tenure	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022
Owner occupied	98	92	94	81	81	79	78	75	75	75	[x]	[x]	70
Mortgaged	90	90	85	79	78	74	73	70	70	70	[x]	[x]	66
LA	89	84	82	79	77	78	76	74	73	73	[x]	[x]	70
HA	79	79	79	70	71	70	66	68	66	66	[x]	[x]	59
Private rented	101	100	93	90	89	87	86	83	82	85	[x]	[x]	78
All Tenures	92	90	88	80	80	78	76	74	73	73	[x]	[x]	69

## Figure_EE12
Figure EE12: Average modelled emissions (kg per square meter) by tenure, 2010 to 2022 [note 7]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Six line charts showing the average modelled emissions (kg per square meter) by tenure from 2010 to 2022. In 2022, the highest emissions were observed for private rented dwellings (78 kg/m2) and lowest for housing association dwellings (59 kg/m2), with emissions from the other tenures falling in between those values. The values were similar to the previous year across all tenures, however the longer time series shows a decreasing trend over the 2010-2022 period for all tenures. / Data Source: Table_EE15_Average_modelled_emissions_by_tenure

## Table_EE16a_and_EE16b
Table EE16a and EE16b: Environmental Impact Rating (EIR) bands in the Scottish housing stock in 2022, SAP 2012 [note 8]
This worksheet contains two tables presented next to each other horizontally, with one blank column between them.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Table EE16a: Percentage of dwellings by EIR bands, 2018 to 2022.					Table EE16b: Number of dwellings by EIR bands, 2018 to 2022.
EIR Band	2018	2019	2020	2021	2022		EIR Band	2018	2019	2020	2021	2022
A - B (81+)	5%	6%	[x]	[x]	8%		A - B (81+)	125	140	[x]	[x]	209
C (69-80)	28%	28%	[x]	[x]	31%		C (69-80)	682	689	[x]	[x]	799
D (55-68)	40%	40%	[x]	[x]	38%		D (55-68)	993	998	[x]	[x]	964
E (39-54)	19%	18%	[x]	[x]	16%		E (39-54)	473	448	[x]	[x]	400
F (21-38)	7%	7%	[x]	[x]	6%		F (21-38)	171	174	[x]	[x]	149
G (1-20)	1%	2%	[x]	[x]	1%		G (1-20)	34	47	[x]	[x]	29
All EIR Bands	100%	100%	[x]	[x]	100%		All EIR Bands	2,477	2,496	[x]	[x]	2,550
Mean	61	61	[x]	[x]	63
Median	63	64	[x]	[x]	66
Sample size (number)	2,964	2,997	[x]	[x]	2,983

## Infographic_EE3
Infographic EE3: Distribution of the Scottish housing stock by grouped EPC band from 2018 to 2022, SAP 2012 (RdSAP v9.93)
This worksheet contains the image of an infographic and a text description of this infographic.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Infographic showing the distribution of the Scottish housing stock by grouped EPC band from 2018 to 2022 under SAP 2012 (RdSAP v9.93). In 2022, the mean EIR rating was 63 and the median was 66, both of which fall in band D. Figure 16 illustrates the increasing trend in the mean and median EIR between 2010 and 2022. This indicates that the environmental impact of Scottish housing is gradually falling over time but has always remained within band D. / Data Source: Table_EE16_EIR_bands_in_the_Scottish_housing_stock_in_2021_SAP_2012ng_Stock_by_EPC_Band_in_2021_SAP_2012

## Figure_EE13
Figure EE13: Percentage of dwellings by EIR bands, 2018 to 2022
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Line chart showing the percentage of dwellings by EIR bands, from 2018 to 2022. 39% of dwellings had EI ratings in band C or better under SAP 2012 (RdSAP v9.93) in 2022, an improvement on the 2019 figure of 34%. 7% of dwellings were rated F or G in terms of their environmental impact in 2022, similar to 2019 and 2018. / Data Source: Table_EE16_EIR_bands_in_the_Scottish_housing_stock_in_2021_SAP_2012

## Table_EE17
Table EE17: Mean Environmental Impact Rating (EIR) and broad EIR band, by dwelling characteristics in 2022, SAP 2012 [note 8]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Dwelling / Characteristics	Category	Environmental Impact Rating / (Mean)	EIR Band / ABC (%)	EIR Band / DE (%)	EIR Band / FG (%)	Sample size / (number)
Dwelling Type	Detached	58.0	27%	60%	13%	880
Dwelling Type	Semi-detached	59.3	24%	67%	9%	645
Dwelling Type	Terraced	62.4	35%	58%	7%	591
Dwelling Type	Tenement	69.6	61%	37%	2%	535
Dwelling Type	Other flats	67.0	55%	42%	3%	332
Dwelling Type (grouped)	House	59.9	28%	62%	10%	2,116
Dwelling Type (grouped)	Flat	68.6	59%	39%	2%	867
Dwelling Age	pre-1919	53.7	22%	61%	17%	593
Dwelling Age	1919-1944	59.6	28%	65%	7%	317
Dwelling Age	1945-1964	61.0	29%	65%	7%	635
Dwelling Age	1965-1982	62.5	31%	62%	6%	629
Dwelling Age	post-1982	72.6	71%	28%	1%	809
Primary Heating Fuel	Gas	66.3	44%	54%	2%	2,187
Primary Heating Fuel	Oil	43.2	2%	66%	31%	264
Primary Heating Fuel	Electric	48.4	16%	51%	33%	454
Primary Heating Fuel	Other fuel type	62.8	63%	17%	20%	77
Urban-Rural Indicator [note 3]	Urban	65.0	42%	54%	4%	2,249
Urban-Rural Indicator [note 3]	Rural	53.7	26%	51%	23%	734
Gas Grid [note 4]	On grid	65.4	43%	54%	3%	2,334
Gas Grid [note 4]	Off grid	45.8	14%	50%	36%	649
All dwellings	All dwellings	63.1	40%	53%	7%	2,983