## Cover_sheet
Scottish House Condition Survey 2022 Key Findings
Chapter 5: Housing Conditions
This spreadsheet contains additional information on 'Scottish House Condition Survey: 2022 Key Findings' chapter 4 'Housing Conditions ' published as part of the Experimental Statistics publication:
Scottish house condition survey: 2022 key findings, released on 29th February 2024
This spreadsheet contains a range of analysis from the 2021 Scottish House Conditions Survey, including: / - rates of disrepair / - disrepair to critical elements / - damp and condensation / - Tolerable Standard / - Housing Quality Standard (SHQS).
For commentary, advice and background notes on these statistics, please refer to the main publication.
Scottish house condition survey: 2022 key findings, released on 29th February 2024
Publication dates
The data tables in this spreadsheet were originally published at 9:30am 29th February 2024.
Note on the impact of Covid-19
The time period covered by these statistics means that time series results will be affected by the coronavirus (COVID-19) pandemic. Specifically there is no 2020 data and 2021 data is not comparable to other waves of the survey. / Further details can be found in the following:
Notes on the impact of the coronavirus (COVID-19) on these statistics
Notes and no data
Some cells in the tables refer to notes which can be found in the notes worksheet. Note markers are presented in square brackets, for example: [note 1]. / Some tables in this spreadsheet have cells with no data. When this is the case the cells are marked up with shorthand: / [low] for a percentage less than 0.5% and a number less than 500 / [w] indicates no sample cases in this category / [c] indicates base sample too small to report (below 30 cases) or estimate representing 2 or fewer sampled households / [x] for not available, i.e. the data was not collected in the survey / [z] not applicable. / These symbols have been chosen to align with harmonisation standards set by the Government Statistical Service.
Comparisons over time
Scottish House Condition Survey results for 2022 have been assessed to be comparable in the most part to 2019 and earlier years. However, the 2022 results for percentages of households in each tenure should be treated with caution, as there is evidence to suggest that social rented and private rented households may be under-represented in the 2022 achieved sample.
Due to this, national level estimates of some elements of disrepair may be slightly under-estimated. For example, disrepair to critical elements is more prevalent in the private rented sector, which is underrepresented in the sample. Conversely, when including the two new criteria failure rates for the tolerable standard are higher in the owner occupied sector, and as a result national level figures for this may be slightly overestimated. However, the main drivers of disrepair tend to be property age and type not tenure, and as set out in section 1.1.4 these characteristics are included in the SHCS calibration weighting process. Additionally, given the diversity of disrepair data and the broad similarities to 2019 figures in key categories (before revisions) such as the tolerable standard and the overall SHQS failure rate we expect any differences to be minor.
See section 1.1.4 for details of SHCS Weighting and section 1.1.5 for a Comparison to Previous SHCS Waves
Notes affecting all tables
Rounding: All numbers are rounded to the nearest 1,000 and percentages are generally rounded to the nearest whole number. Because of rounding, figures in tables and charts may not always add exactly. / Sample Sizes: The Scottish House Condition Survey is a sample survey. All survey figures are estimates of the true prevalence within the population and will contain some error associated with sampling variability.
For more information on Sample Sizes and Gross Dwelling Numbers see section 1.1.1 of the 2022 SHCS Technical and Methodological Notes.
Previous 'Scottish House Condition Survey: Key Findings' publications
Previous 'Scottish House Condition Survey: Key Findings' publications can be found at:
Scottish House Condition Survey - gov.scot (www.gov.scot)
Contact details
shcs@gov.scot

## Table_of_Contents
Table of Contents
This worksheet contains one table.
Worksheet number	Worksheet title	Publication Section	Date this data / was first published	Date / Updated
Notes	Notes		29/02/2024
Table HC1	Disrepair categories, 2022	Disrepair	29/02/2024
Infographic HC1	Percentage of dwellings to display elements of disrepair in more than one category, 2022 (infographic)	Disrepair	29/02/2024
Infographic HC2	Number of dwellings to display elements of disrepair in more than one category, 2022 (infographic)	Disrepair	29/02/2024
Table HC2a and HC2b	Disrepair to critical and non-critical elements, 2012-2022	Rates of Disrepair	29/02/2024
Figure HC1	Disrepair to critical elements, 2012-2022 (graph)	Rates of Disrepair	29/02/2024
Figure HC2	Disrepair to non-critical elements, 2012-2022 (graph)	Rates of Disrepair	29/02/2024
Table HC3a and HC3b	Rates of disrepair, 2012-2022	Rates of Disrepair	29/02/2024
Figure HC3	Rates of disrepair, 2012-2022 (graph)	Rates of Disrepair	29/02/2024
Table HC4	Disrepair to critical elements by dwelling age and location, 2018- 2022	Disrepair to Critical Elements	29/02/2024
Figure HC4	Disrepair to critical elements by dwelling age, 2019- 2022 (graph)	Disrepair to Critical Elements	29/02/2024
Figure HC5	Disrepair to critical elements by dwelling location, 2019- 2022 (graph)	Disrepair to Critical Elements	29/02/2024
Table HC5	Disrepair by tenure, 2018 to 2022	Disrepair to Critical Elements	29/02/2024
Figure HC6	Disrepair by tenure, 2019 and 2022	Disrepair to Critical Elements	29/02/2024
Table HC6	Households affected and average (median) extent of disrepair to external critical elements, 2022	Type of Disrepair to Critical Elements	29/02/2024
Infographic HC3	Households affected and average (median) extent of disrepair to external critical elements, 2022 (infographic)	Type of Disrepair to Critical Elements	29/02/2024
Table HC7a and HC7b	Presence of damp, mould and condensation, 2012 to 2022	Damp, Mould and Condensation	29/02/2024
Figure HC7	Presence of damp, mould and condensation, 2012 to 2022	Damp, Mould and Condensation	29/02/2024
Figure HC8	Dwellings below tolerable standard (BTS), 2012 to 2022	Tolerable Standard	29/02/2024
Table HC8	Dwellings below tolerable standard (BTS), 2012 to 2022	Tolerable Standard	29/02/2024
Table HC9a and HC9b	Dwellings below tolerable standard (BTS) by tenure and age band, 2018 to 2022	Tolerable Standard	29/02/2024
Figure HC9	Dwellings below tolerable standard (BTS) by tenure and age band, 2022	Tolerable Standard	29/02/2024
Figure HC10	Dwellings below tolerable standard (BTS) by tenure and age band, 2019 and 2022 (pre 2022 - 12 criteria only)	Tolerable Standard	29/02/2024
Table HC10	Below tolerable standard (BTS) dwellings by individual tolerable standard criteria failures, 2022	Tolerable Standard	29/02/2024
Figure HC11	Below tolerable standard (BTS) dwellings by individual tolerable standard criteria failures, 2022	Tolerable Standard	29/02/2024
Table HC11a and HC11b	Dwellings failing SHQS and individual criteria, 2010 to 2022	Scottish Housing Quality Standard (SHQS)	29/02/2024
Figure HC12	Dwellings failing SHQS and individual criteria, 2010 to 2022	Scottish Housing Quality Standard (SHQS)	29/02/2024
Figure HC13	Dwellings failing SHQS individual criteria, 2010 to 2022	Scottish Housing Quality Standard (SHQS)	29/02/2024
Table HC12a, HC12b and HC12c	Dwellings failing SHQS by dwelling characteristics, 2018 to 2022	Compliance with SHQS by Tenure, Dwelling Age and Location	29/02/2024
Figure HC14	Dwellings failing SHQS by dwelling characteristics, 2022	Compliance with SHQS by Tenure, Dwelling Age and Location	29/02/2024
Table HC13	SHQS criteria failure rates by tenure, 2010-2022	Individual SHQS Criteria	29/02/2024
Figure HC15	SHQS criteria failure rates by tenure, 2022	Individual SHQS Criteria	29/02/2024
Table HC14a and HC14b	Number and proportion of dwellings by numbers of SHQS criteria failures and tenure, 2010 to 2022	Number of Criteria and Elements Failing	29/02/2024
Figure HC16	Percentage of dwellings by number of SHQS criteria failures and sector, 2022	Number of Criteria and Elements Failing	29/02/2024
Figure HC17	Percentage of dwellings by numbers of SHQS criteria failures and sector, 2010 to 2022	Number of Criteria and Elements Failing	29/02/2024
Table HC15	Number and proportion of dwellings by numbers of SHQS element failures and sector, 2022	Number of Criteria and Elements Failing	29/02/2024
Figure HC18	Percentage of of dwellings failing the SHQS by numbers of SHQS element failures and sector, 2022	Number of Criteria and Elements Failing	29/02/2024
Table HC16a and HC16b	SHQS single-element failure by element and sector, 2022	Number of Criteria and Elements Failing	29/02/2024
Figure HC19	Single- element SHQS failures by sector, 2022	Number of Criteria and Elements Failing	29/02/2024
Table HC17	Dwellings in the social sector failing the energy efficient criterion and SHQS overall, with and without the cavity wall insulation (CWI) element, 2018 and 2022	SHQS Compliance and Cavity Wall Insulation	29/02/2024

## Notes
Notes
This worksheet contains one table.
Back to table of contents
Note number	Note text	Relevant hyperlinks (where appropriate)
[note 1]	For a very small number of cases it was not possible to obtain the disrepair status of every element of the property. Where that element feeds into one of the disrepair categories the result is recorded as unobtainable.	See the technical notes for further information
[note 2]	Urgent disrepair concerns only external and common elements which are a mixture of critical and non-critical. Urgent disrepair to critical elements and extensive disrepair to critical elements have been calculated for the first time in 2019 and back updated for 2018 to allow a comparison. Back updating to previous years is complex and work will be taken forward to ensure that a longer trend can be presented in the next report.	See the technical notes for further information
[note 3]	Dwellings which have disrepair to critical elements may also have instances of disrepair to basic elements. Similarly, dwellings which have urgent or extensive disrepair to critical elements may also have urgent or extensive disrepair to basic elements which is not captured in this table. Table HC3a and HC3b provides rates of urgent and extensive disrepair regardless of element type.	Table HC3a and HC3b
[note 4]	For 2022 onwards, the 2020 urban rural classification is used for reporting. The 2013/14 urban rural classification (2011 data zone edition) is used for reporting 2016 to 2019 data. Prior to 2016, 2001 data zones are used.	More information is available in section 2.3. in 'Scottish House Condition Survey: 2022 Key Findings Technical and Methodological Notes'
[note 5]	The Tolerable Standard was amended by the Housing (Scotland) Act 1987 (Tolerable Standard) (Extension of Criteria) Order 2019 and now includes a new element covering smoke, heat, and carbon monoxide alarms. For the first time, in SHCS 2022 assessors considered the presence, type and condition of smoke and heat alarms in a house when deciding if the house meets the Tolerable Standard.	Satisfactory fire and carbon monoxide detection: tolerable standard guidance - gov.scot (www.gov.scot)
[note 6]	Figures on SHQS failure rates for 2014 onwards are not entirely comparable to previous years published in key findings reports from the SHCS. Because of missing tenure information, a small number of dwellings (see the subsection on missing tenure information for more detail) are excluded from tenure breakdowns in figures relating to years prior to 2014. In addition, small changes to data processing relating to failure thresholds for the energy efficiency criterion, as well as other minor data processing corrections were introduced in 2014. Although the effect of these corrections on the overall failure rates in the social sector was neutral, some discontinuities with previous years cannot be ruled out, especially when considering more detailed breakdowns.
[note 8]	The percentage of disrepair is calculated considering only dwellings where the element is present
[note 9]	Median extent of disrepair by area of the element
[note 10]	Scottish House Condition Survey results for 2022 have been assessed to be comparable in the most part to 2019 and earlier years. However, the 2022 results for percentages of households in each tenure should be treated with caution, as there is evidence to suggest that social rented and private rented households may be slightly under-represented, and owner occupiers overrepresented in the 2022 achieved sample. Due to this, national level estimates of some elements of disrepair may be slightly under-estimated. For example, disrepair to critical elements is more prevalent in the private rented sector, which is underrepresented in the sample. Conversely, when including the two new criteria failure rates for the tolerable standard are higher in the owner occupied sector, and as a result national level figures for this may be slightly overestimated. However, the main drivers of disrepair tend to be property age and type not tenure, and as set out in section 8.1.4 these characteristics are included in the SHCS calibration weighting process. Additionally, given the diversity of disrepair data and the broad similarities to 2019 figures in key categories (before revisions) such as the tolerable standard and the overall SHQS failure rate we expect any differences to be minor.	See section 1.1.4 for details of SHCS weighting and section 1.1.5 for a Comparison to Previous SHCS Waves

## Table_HC1
Table HC1: Disrepair categories, 2022 [note 10]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Type of Disrepair	Percentage of dwellings / (%)	Number of dwellings / (in thousands)
No disrepair	34%	877
Any disrepair to critical elements	49%	1,239
Disrepair to critical elements (no urgent or extensive)	24%	615
Disrepair to critical elements & urgent disrepair	19%	495
Disrepair to critical elements & urgent disrepair & extensive disrepair	3%	67
Disrepair to critical elements & extensive disrepair	2%	61
Basic Disrepair (no disrepair to criticals elements or urgent or extensive disrepair)	13%	328
Extensive (no disrepair to critical elements or urgent disrepair)	1%	21
Urgent (no disrepair to criticals elements or extensive disrepair)	3%	78
Urgent & Extensive	[low]	6
Sample size (number)	2,983

## Infographic_HC1
Infographic HC1: Percentage of dwellings to display elements of disrepair in more than one category, 2022. [note 10]
This worksheet contains the image of an infographic and a text description of this infographic.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Infographic (venn diagram) showing the percentage of dwellings to display elements of disrepair in more than one category in 2022. 49% of dwellings had some disrepair to critical elements, 24% had no instances of urgent or extensive disrepair; 19% had some urgent disrepair (which could be to critical or non-critical elements) but no extensive disrepair; 3% had some urgent and some extensive disrepair (to any element); and 2% had had some extensive disrepair (to any element) but no urgent disrepair. / Data Source: Table_HC1_Disrepair_categories

## Infographic_HC2
Infographic HC2: Number of dwellings to display elements of disrepair in more than one category, 2022. [note 10]
This worksheet contains the image of an infographic and a text description of this infographic.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Infographic (upset plot) showing the overlap of different types of disrepair in Scottish dwellings. The vertical axis shows the number of dwellings with different combinations of disrepair, for example 328,000 dwellings(13%) had basic disrepair only. While 495,000 (19%) had urgent disrepair, and disrepair to critical elements. It also shows that 877,000 dwellings (34%) had no disrepair. The horizontal axis shows the total number of dwellings with each type of disrepair including overlaps. / Data Source: Table_HC1_Disrepair_categories

## Table_HC2a_and_HC2b
Table HC2a and HC2b: Disrepair to critical and non-critical elements, 2012 to 2022
This worksheet contains two tables presented next to each other horizontally, with one blank column between them.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Table HC2a: Percentage of dwellings with disrepair to critical elements and non-critical elements, 2012-2022 [note 1] [note 2] [note 3] [note 10]					Table HC2b: Number of dwellings (in thousands) with disrepair to critical elements and non-critical elements, 2012-2022 [note 1] [note 2] [note 3] [note 10]
Type of Disrepair	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022		Type of Disrepair	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022
Any disrepair to critical elements	61%	57%	53%	52%	48%	50%	57%	52%	[x]	[x]	49%		Any disrepair to critical elements	1,454	1,377	1,287	1,257	1,186	1,222	1,409	1,295	[x]	[x]	1,239
Urgent disrepair to one or more critical elements	[x]	[x]	[x]	[x]	[x]	[x]	20%	19%	[x]	[x]	18%		Urgent disrepair to one or more critical elements	[x]	[x]	[x]	[x]	[x]	[x]	490	473	[x]	[x]	454
Extensive disrepair to one or more critical elements	[x]	[x]	[x]	[x]	[x]	[x]	1%	1%	[x]	[x]	3%		Extensive disrepair to one or more critical elements	[x]	[x]	[x]	[x]	[x]	[x]	30	28	[x]	[x]	71
Any disrepair to non-critical elements	20%	20%	20%	21%	20%	18%	18%	18%	[x]	[x]	17%		Any disrepair to non-critical elements	469	492	481	516	488	451	440	446	[x]	[x]	434
Urgent disrepair to non-critical elements	4%	4%	4%	5%	4%	4%	3%	3%	[x]	[x]	3%		Urgent disrepair to non-critical elements	93	95	109	127	95	102	82	86	[x]	[x]	84
Extensive disrepair to non-critical elements	1%	1%	1%	1%	1%	1%	1%	1%	[x]	[x]	1%		Extensive disrepair to non-critical elements	29	26	21	34	25	36	30	29	[x]	[x]	28
Sample size (number)	2,787	2,725	2,682	2,754	2,850	3,002	2,964	2,997	[x]	[x]	2,983

## Figure_HC1
Figure HC1: Disrepair to critical elements, 2012-2022 [note 1] [note 2] [note 3] [note 10]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Line graph showing the rates of disrepair over time for dwellings with disrepair to critical elements. In 2022, disrepair to critical elements stood at 49% of all dwellings. Less than half, 18% of all dwellings, had instances of urgent disrepair to these critical elements and only 3% of dwellings had extensive disrepair to one or more critical elements. These dwellings may also have other instances of disrepair (including urgent and extensive) to non-critical elements. Overall, this is an improvement of 3 percentage points on 2019, when 52% of dwellings had disrepair to critical elements and a 12 percentage point improvement on the 61% in 2012 . The 2022 rate has returned to a level similar to 2016 (48%). / Data Source: Table_HC2a_Percentage_of_dwellings_with_disrepair_to_critical_elements_and_non_critical_elements

## Figure_HC2
Figure HC2: Disrepair to non-critical elements, 2012-2022 [note 1] [note 2] [note 10]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Line graph showing the rates of disrepair over time for dwellings with only disrepair to non-critical elements. In 2022, 17% of dwellings had disrepair only to non-critical elements, with 3% of dwellings requiring some urgent repair and 1% with extensive disrepair to non-critical elements, similar to 2019. / Data Source: Table_HC2a_Percentage_of_dwellings_with_disrepair_to_critical_elements_and_non_critical_elements

## Table_HC3a_and_HC3b
Table HC3a and HC3b: Rates of disrepair, 2012-2022
This worksheet contains two tables presented next to each other horizontally, with one blank column between them.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Table HC3a: Percentage of dwellings with disrepair, 2012-2022 [note 1] [note 10]					Table HC3b: Number (in thousands) of dwellings with disrepair, 2012-2022 [note 1] [note 10]
Type of Disrepair	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022		Type of Disrepair	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022
Any disrepair	81%	78%	73%	73%	68%	68%	75%	70%	[x]	[x]	66%		Any disrepair	1,924	1,869	1,767	1,773	1,674	1,673	1,850	1,741	[x]	[x]	1,672
Any urgent disrepair	39%	36%	32%	33%	28%	28%	30%	27%	[x]	[x]	25%		Any urgent disrepair	919	864	779	812	683	690	738	675	[x]	[x]	646
Any extensive disrepair	9%	7%	7%	8%	6%	5%	6%	6%	[x]	[x]	6%		Any extensive disrepair	210	180	162	185	137	131	151	146	[x]	[x]	156
Sample size (number)	2,787	2,725	2,682	2,754	2,850	3,002	2,964	2,997	[x]	[x]	2,983

## Figure_HC3
Figure HC3: Rates of disrepair, 2012-2022 [note 1] [note 10]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Line graph showing the rates of disrepair to both critical and non-critical elements regardless of element type. In 2022, 25% of properties had some instances of urgent disrepair, similar to 2019 and down from 39% in 2012. In 2022, 6% of the housing stock had some extensive disrepair present, similar to 2019, but an improvement from 9% in 2012. / Data Source: Table_HC3a_Percentage_of_dwellings_with_disrepair

## Table_HC4
Table HC4: Disrepair to critical elements by dwelling age and location, 2018- 2022 [note 1] [note 2] [note 10]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Type of Disrepair	Dwelling Characteristics	Category	2018	2019	2020	2021	2022
Any disrepair to critical elements	Dwelling Age	pre-1919	73%	71%	[x]	[x]	71%
Any disrepair to critical elements	Dwelling Age	1919-1944	73%	64%	[x]	[x]	65%
Any disrepair to critical elements	Dwelling Age	1945-1964	67%	59%	[x]	[x]	55%
Any disrepair to critical elements	Dwelling Age	1965-1982	52%	48%	[x]	[x]	42%
Any disrepair to critical elements	Dwelling Age	post-1982	35%	31%	[x]	[x]	28%
Any disrepair to critical elements	Urban-Rural Indicator [note 4]	Urban	57%	52%	[x]	[x]	48%
Any disrepair to critical elements	Urban-Rural Indicator [note 4]	Rural	54%	53%	[x]	[x]	50%
Any disrepair to critical elements	All dwellings	All dwellings	57%	52%	[x]	[x]	49%
Any disrepair to critical elements and any urgent disrepair	Dwelling Age	pre-1919	40%	36%	[x]	[x]	32%
Any disrepair to critical elements and any urgent disrepair	Dwelling Age	1919-1944	35%	30%	[x]	[x]	30%
Any disrepair to critical elements and any urgent disrepair	Dwelling Age	1945-1964	34%	30%	[x]	[x]	28%
Any disrepair to critical elements and any urgent disrepair	Dwelling Age	1965-1982	21%	19%	[x]	[x]	20%
Any disrepair to critical elements and any urgent disrepair	Dwelling Age	post-1982	12%	11%	[x]	[x]	9%
Any disrepair to critical elements and any urgent disrepair	Urban-Rural Indicator [note 4]	Urban	27%	24%	[x]	[x]	22%
Any disrepair to critical elements and any urgent disrepair	Urban-Rural Indicator [note 4]	Rural	23%	21%	[x]	[x]	22%
Any disrepair to critical elements and any urgent disrepair	All dwellings	All dwellings	26%	24%	[x]	[x]	22%
Any disrepair to critical elements, any urgent and any extensive disrepair	Dwelling Age	pre-1919	7%	4%	[x]	[x]	5%
Any disrepair to critical elements, any urgent and any extensive disrepair	Dwelling Age	1919-1944	2%	4%	[x]	[x]	3%
Any disrepair to critical elements, any urgent and any extensive disrepair	Dwelling Age	1945-1964	5%	3%	[x]	[x]	5%
Any disrepair to critical elements, any urgent and any extensive disrepair	Dwelling Age	1965-1982	3%	4%	[x]	[x]	1%
Any disrepair to critical elements, any urgent and any extensive disrepair	Dwelling Age	post-1982	1%	1%	[x]	[x]	[c]
Any disrepair to critical elements, any urgent and any extensive disrepair	Urban-Rural Indicator [note 4]	Urban	4%	3%	[x]	[x]	3%
Any disrepair to critical elements, any urgent and any extensive disrepair	Urban-Rural Indicator [note 4]	Rural	4%	3%	[x]	[x]	3%
Any disrepair to critical elements, any urgent and any extensive disrepair	All dwellings	All dwellings	4%	3%	[x]	[x]	3%
Urgent disrepair to one or more critical elements	Dwelling Age	pre-1919	31%	32%	[x]	[x]	27%
Urgent disrepair to one or more critical elements	Dwelling Age	1919-1944	26%	24%	[x]	[x]	25%
Urgent disrepair to one or more critical elements	Dwelling Age	1945-1964	26%	22%	[x]	[x]	21%
Urgent disrepair to one or more critical elements	Dwelling Age	1965-1982	15%	15%	[x]	[x]	16%
Urgent disrepair to one or more critical elements	Dwelling Age	post-1982	8%	9%	[x]	[x]	8%
Urgent disrepair to one or more critical elements	Urban-Rural Indicator [note 4]	Urban	20%	19%	[x]	[x]	17%
Urgent disrepair to one or more critical elements	Urban-Rural Indicator [note 4]	Rural	20%	18%	[x]	[x]	20%
Urgent disrepair to one or more critical elements	All dwellings	All dwellings	20%	19%	[x]	[x]	18%
Extensive disrepair to one or more critical elements	Dwelling Age	pre-1919	3%	2%	[x]	[x]	3%
Extensive disrepair to one or more critical elements	Dwelling Age	1919-1944	[c]	1%	[x]	[x]	2%
Extensive disrepair to one or more critical elements	Dwelling Age	1945-1964	1%	2%	[x]	[x]	3%
Extensive disrepair to one or more critical elements	Dwelling Age	1965-1982	1%	1%	[x]	[x]	3%
Extensive disrepair to one or more critical elements	Dwelling Age	post-1982	1%	[w]	[x]	[x]	2%
Extensive disrepair to one or more critical elements	Urban-Rural Indicator [note 4]	Urban	1%	1%	[x]	[x]	3%
Extensive disrepair to one or more critical elements	Urban-Rural Indicator [note 4]	Rural	3%	1%	[x]	[x]	2%
Extensive disrepair to one or more critical elements	All dwellings	All dwellings	1%	1%	[x]	[x]	3%

## Figure_HC4
Figure HC4: Disrepair to critical elements by dwelling age, 2019 and 2022 [note 1] [note 2] [note 4]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Bar chart showing the percentage of dwellings with disrepair to critical elements by dwelling age in 2019 and 2022. Dwellings built in the period pre-1919 have a rate of disrepair to critical elements of 71%, of which 27% had any urgent disrepair to critical elements. Comparatively the rates of disrepair for dwellings built in the period 1965-1982 was 42% (16% urgent disrepair to critical elements), while dwellings built after 1982 have a rate at 28% (8% urgent disrepair to critical elements). This is also evident where instances of disrepair to critical elements co-exist with urgent disrepair to critical elements, a pattern which has remained unchanged since 2019. / Data Sources: Table_HC4_Disrepair_to_critical_elements_by_dwelling_age_and_location

## Figure_HC5
Figure HC5: Disrepair to critical elements by dwelling location, 2019 and 2022 [note 1] [note 2] [note 4]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Bar chart showing the percentage of dwellings with disrepair to critical elements by dwelling location in 2019 and 2022. In 2022, rates of disrepair were similar between urban and rural areas for all categories shown. This reflects an improvement for urban areas in rates of disrepair to critical elements (4 percentage point reduction) and a decrease of 2 percentage points in rates of urgent disrepair to critical elements and urgent disrepair to any element between 2019 and 2022. The rate of disrepair to critical elements for rural areas was 53%, similar to 2019. / Data Sources: Table_HC4_Disrepair_to_critical_elements_by_dwelling_age_and_location

## Table_HC5
Table HC5: Disrepair by tenure, 2018 to 2022 [note 1] [note 2] [note 10]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Type of Disrepair	Household Characteristics	Category	2018	2019	2020	2021	2022
Any disrepair to critical elements	Tenure	Owner occupied	54%	47%	[x]	[x]	46%
Any disrepair to critical elements	Tenure	LA	63%	66%	[x]	[x]	54%
Any disrepair to critical elements	Tenure	HA/Co-op	46%	48%	[x]	[x]	41%
Any disrepair to critical elements	Tenure	Private rented	72%	65%	[x]	[x]	66%
Any disrepair to critical elements	Tenure (grouped)	Private Sector	57%	50%	[x]	[x]	49%
Any disrepair to critical elements	Tenure (grouped)	Social Sector	57%	58%	[x]	[x]	49%
Any disrepair to critical elements	All dwellings	All dwellings	57%	52%	[x]	[x]	49%
Any disrepair to critical elements and any urgent disrepair	Tenure	Owner occupied	24%	21%	[x]	[x]	20%
Any disrepair to critical elements and any urgent disrepair	Tenure	LA	31%	31%	[x]	[x]	27%
Any disrepair to critical elements and any urgent disrepair	Tenure	HA/Co-op	17%	14%	[x]	[x]	15%
Any disrepair to critical elements and any urgent disrepair	Tenure	Private rented	39%	36%	[x]	[x]	32%
Any disrepair to critical elements and any urgent disrepair	Tenure (grouped)	Private Sector	27%	24%	[x]	[x]	22%
Any disrepair to critical elements and any urgent disrepair	Tenure (grouped)	Social Sector	26%	24%	[x]	[x]	23%
Any disrepair to critical elements and any urgent disrepair	All dwellings	All dwellings	26%	24%	[x]	[x]	22%
Any disrepair to critical elements, any urgent and any extensive disrepair	Tenure	Owner occupied	3%	3%	[x]	[x]	2%
Any disrepair to critical elements, any urgent and any extensive disrepair	Tenure	LA	3%	4%	[x]	[x]	4%
Any disrepair to critical elements, any urgent and any extensive disrepair	Tenure	HA/Co-op	2%	1%	[x]	[x]	1%
Any disrepair to critical elements, any urgent and any extensive disrepair	Tenure	Private rented	9%	4%	[x]	[x]	5%
Any disrepair to critical elements, any urgent and any extensive disrepair	Tenure (grouped)	Private Sector	4%	3%	[x]	[x]	3%
Any disrepair to critical elements, any urgent and any extensive disrepair	Tenure (grouped)	Social Sector	3%	3%	[x]	[x]	3%
Any disrepair to critical elements, any urgent and any extensive disrepair	All dwellings	All dwellings	4%	3%	[x]	[x]	3%
Urgent disrepair to one or more critical elements	Tenure	Owner occupied	18%	16%	[x]	[x]	16%
Urgent disrepair to one or more critical elements	Tenure	LA	25%	25%	[x]	[x]	24%
Urgent disrepair to one or more critical elements	Tenure	HA/Co-op	11%	12%	[x]	[x]	12%
Urgent disrepair to one or more critical elements	Tenure	Private rented	29%	30%	[x]	[x]	27%
Urgent disrepair to one or more critical elements	Tenure (grouped)	Private Sector	20%	19%	[x]	[x]	17%
Urgent disrepair to one or more critical elements	Tenure (grouped)	Social Sector	20%	20%	[x]	[x]	19%
Urgent disrepair to one or more critical elements	All dwellings	All dwellings	20%	19%	[x]	[x]	18%
Extensive disrepair to one or more critical elements	Tenure	Owner occupied	1%	1%	[x]	[x]	2%
Extensive disrepair to one or more critical elements	Tenure	LA	1%	2%	[x]	[x]	5%
Extensive disrepair to one or more critical elements	Tenure	HA/Co-op	[c]	2%	[x]	[x]	1%
Extensive disrepair to one or more critical elements	Tenure	Private rented	2%	1%	[x]	[x]	4%
Extensive disrepair to one or more critical elements	Tenure (grouped)	Private Sector	1%	1%	[x]	[x]	3%
Extensive disrepair to one or more critical elements	Tenure (grouped)	Social Sector	1%	2%	[x]	[x]	3%
Extensive disrepair to one or more critical elements	All dwellings	All dwellings	1%	1%	[x]	[x]	3%

## Figure_HC6
Figure HC6: Disrepair by tenure, 2019 and 2022 [note 1] [note 2]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Bar chart showing the percentage of dwellings with disrepair in 2019 and 2022. Housing association dwellings tend to have amongst the lowest levels (around 41%) of any disrepair to critical elements, similar to 2019. Conversely, private rented sector properties have the highest levels of disrepair to critical elements 66% of dwellings in 2022, similar to 2019. In 2022 there was an improvement in the rate of disrepair to critical elements for local authority properties from 66% in 2019 to 54% in 2022. The rate of disrepair to critical elements for owner-occupied properties was 46% in 2022 , with little change since 2019 / Data Sources: Table_HC5_Disrepair_by_tenure

## Table_HC6
Table HC6: Households affected and average (median) extent of disrepair to external critical elements, 2022 [note 8] [note 9] [note 10]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Disrepair to External / Critical Elements	Average (Median) Extent of Disrepair	Percentage of households / (%)	Number of households / (number)	Sample size / (number)
Roof Structure	[c]	1%	12,000	[c]
Roof Covering	2.5%	16%	413,000	480
Sec. Roof Structure	[c]	1%	2,000	[c]
Sec. Roof Covering	1.7%	9%	49,000	47
Chimney stacks	2.5%	22%	298,000	330
Flashings	2.5%	11%	339,000	336
Gutters/Downpipes	2.5%	14%	426,000	395
Wall structure	1.7%	3%	51,000	84
Wall finish	2.5%	24%	664,000	679
Foundations	[c]	[low]	8,000	[c]
Damp Proof Course (DPC)	[c]	1%	4,000	[c]
External Doors	2.5%	5%	104,000	150
Windows	2.5%	8%	191,000	238
Some disrepair to an external critical element	[z]	44%	1,130,000	2,784

## Infographic_HC3
Infographic HC3: Households affected and average (median) extent of disrepair to external critical elements, 2022 [note 8] [note 9]
This worksheet contains the image of an infographic and a text description of this infographic.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Infographic showing that around 24% of dwellings had some disrepair to wall finish, 16% had some disrepair to gutters / downpipes and 16% had some disrepair to roof coverings; however, in all three cases the average (median) disrepair covered around 2.5% of the area. 22% of dwellings with chimneys showed some signs of disrepair. / Data Source: Table_HC6_Households_affected_and_average_median_extent_of_disrepair_to_external_critical_elements

## Table_HC7a_and_HC7b
Table HC7a and HC7b: Presence of damp, mould and condensation, 2012 to 2022
This worksheet contains two tables presented next to each other horizontally, with one blank column between them.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Table HC7a: Percentage of dwellings with presence of damp, mould and/ or condensation, 2012 to 2022					Table HC7b: Number of dwellings with presence of damp, mould and/ or condensation, 2012 to 2022
Defect	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022		Defect	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022
Any Damp or Condensation	14%	13%	11%	10%	11%	9%	11%	9%	[x]	[x]	10%		Any Damp or Condensation	330	320	276	255	281	226	268	228	[x]	[x]	246
Any Mould	12%	10%	9%	9%	8%	8%	10%	9%	[x]	[x]	9%		Any Mould	283	241	218	230	203	196	247	229	[x]	[x]	235
No Damp or Condensation	86%	87%	89%	90%	89%	91%	89%	91%	[x]	[x]	90%		No Damp or Condensation	2,056	2,082	2,144	2,179	2,171	2,236	2,209	2,268	[x]	[x]	2,304
No Mould	88%	90%	91%	91%	92%	92%	90%	91%	[x]	[x]	91%		No Mould	2,103	2,160	2,202	2,204	2,249	2,267	2,230	2,267	[x]	[x]	2,314
Condensation	11%	10%	9%	9%	9%	7%	9%	8%	[x]	[x]	8%		Condensation	270	247	226	214	209	185	220	192	[x]	[x]	205
Penetrating Damp	4%	4%	3%	2%	4%	2%	3%	2%	[x]	[x]	3%		Penetrating Damp	86	90	67	58	91	58	69	49	[x]	[x]	73
Rising Damp	[low]	1%	[low]	[low]	[low]	[low]	[low]	[low]	[x]	[x]	[low]		Rising Damp	7	16	11	[low]	10	6	10	10	[x]	[x]	8
Rising or Penetrating damp	4%	4%	3%	3%	4%	2%	3%	2%	[x]	[x]	3%		Rising or Penetrating damp	90	103	75	61	97	60	73	54	[x]	[x]	76
Sample size (number)	2,787	2,725	2,682	2,754	2,850	3,002	2,964	2,997	[x]	[x]	2,983

## Figure_HC7
Figure HC7: Presence of damp, mould and condensation, 2012 to 2022
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Four line charts showing the percentage of dwellings with presence of damp, mould and/ or condensation, 2012 to 2022. Around 90% of all dwellings in 2022 were free from any form of condensation or damp. This rate has been stable in recent years but represents an overall improvement from 86% in 2012. Similarly, 91% of all dwellings were free from mould in 2022. This rate has been stable in recent years but represents an overall improvement from 88% in 2012. In 2022, 3% of the housing stock (around 73,000 dwellings) suffered from some degree of penetrating damp. The presence of penetrating damp has fluctuated between 2.0% and 3.7% across the past 8 years of the survey. There were a very small number of properties with rising damp in the survey sample, suggesting that their share in the housing stock is less than 0.5%. Condensation was observed in 8% of the surveyed stock (equivalent to around 205,000 dwellings) which is similar to recent years, although represents a reduction from 11% in 2012. / Data Source: Table_HC7a_Percentage_of_dwellings_with_presence_of_damp_mould_and_or_condensation

## Table_HC8
Table HC8: Dwellings below tolerable standard (BTS), 2012 to 2022 [note 5] [note 10]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Below Tolerable Standard (BTS)	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022 / (Full 14 criteria)	2022 / (Pre 2022 - / 12 criteria)
Percentage of BTS dwellings / (%)	4%	3%	2%	2%	2%	1%	2%	2%	[x]	[x]	29%	2%
Number of BTS dwellings / (in thousands)	87	71	48	42	39	24	50	40	[x]	[x]	742	55
Sample size (number)	2,787	2,725	2,682	2,754	2,850	3,002	2,964	2,997	[x]	[x]	2,983	2,983

## Figure_HC8
Figure HC8: Dwellings below tolerable standard (BTS), 2012 to 2022 [note 5] [note 10]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Two line graphs showing the percentage of dwellings below tolerable standard. 29% of all dwellings in Scotland fell below the tolerable standard in 2022 when including the two new below tolerable standard criteria that were introduced(assessing the presence, type and condition of smoke, heat, and carbon monoxide alarms). This is a sharp increase in the proportion of below tolerable standard dwellings from 2% in 2019 to 29% in 2022. Excluding the two new criteria in the timeseries, the overall trend of below tolerable standard dwellings remained stable at around 2% since 2018. However, there is a longer term trend of improvement and 2022 levels represent a drop of around 1 percentage points since 2012. / Data Source: Table_HC8_Dwellings_below_tolerable_standard_BTS

## Table_HC9a_and_HC9b
Table HC9a and HC9b: Dwellings below tolerable standard (BTS) by tenure and age band, 2018 to 2022
This worksheet contains two tables presented next to each other horizontally, with one blank column between them.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Table HC9a: Percentage of dwellings below tolerable standard (BTS) by tenure and age band, 2018 to 2022 [note 5] [note 10]					Table HC9b: Number of dwellings (in thousands) below tolerable standard (BTS) by tenure and age band, 2018 to 2022 [note 5] [note 10]
Dwelling Characteristics	Category	2018	2019	2020	2021	2022 / (Full 14 criteria)	2022 / (Pre 2022 - / 12 criteria)		Dwelling Characteristics	Category	2018	2019	2020	2021	2022 / (Full 14 criteria)	2022 / (Pre 2022 - / 12 criteria)
Dwelling Age	Pre-1919	6%	4%	[x]	[x]	36%	5%		Dwelling Age	Pre-1919	26	21	[x]	[x]	169	22
Dwelling Age	1919-1944	2%	3%	[x]	[x]	37%	3%		Dwelling Age	1919-1944	7	7	[x]	[x]	106	8
Dwelling Age	1945-1964	2%	1%	[x]	[x]	31%	3%		Dwelling Age	1945-1964	11	7	[x]	[x]	160	15
Dwelling Age	Post-1965	1%	[low]	[x]	[x]	24%	1%		Dwelling Age	Post-1965	6	5	[x]	[x]	307	10
Tenure	Owned outright	1%	1%	[x]	[x]	37%	2%		Tenure	Owned outright	12	13	[x]	[x]	369	23
Tenure	Mortgaged	2%	1%	[x]	[x]	40%	2%		Tenure	Mortgaged	15	10	[x]	[x]	255	11
Tenure	LA	2%	2%	[x]	[x]	11%	4%		Tenure	LA	10	7	[x]	[x]	42	14
Tenure	HA	1%	[c]	[x]	[x]	8%	[c]		Tenure	HA	3	[c]	[x]	[x]	19	[c]
Tenure	Private rented	4%	3%	[x]	[x]	19%	2%		Tenure	Private rented	10	9	[x]	[x]	57	6
Tenure (grouped)	Private Sector	2%	2%	[x]	[x]	35%	2%		Tenure (grouped)	Private Sector	37	31	[x]	[x]	681	40
Tenure (grouped)	Social Sector	2%	1%	[x]	[x]	10%	2%		Tenure (grouped)	Social Sector	12	9	[x]	[x]	61	15
All dwellings	All dwellings	2%	2%	[x]	[x]	29%	2%		All dwellings	All dwellings	50	40	[x]	[x]	742	55
	Sample size (number)	2,964	2,997	[x]	[x]	2,983	2,983

## Figure_HC9
Figure HC9: Dwellings below tolerable standard (BTS) by tenure and age band, 2022 [note 5]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Bar chart showing the percentage of dwellings below tolerable standard (BTS) by tenure and age band in 2022. The share of dwellings below tolerable standard in the private sectors was 35%, higher than the social sector at 10%. The proportion of owned outright and mortgaged dwellings failing the tolerable standard was 37% and 40% respectively. Conversely, the rate for the private rented sector in 2022 was 19%. This is likely due to smoke, heat and carbon monoxide detectors already being required for private rented properties under the Repairing Standard. / The proportion of dwellings below tolerable standard was 36% for pre-1919 dwellings and 37% for dwellings built between 1919 and 1944. Around a quarter (24%) of recently built dwellings (post 1965) were below tolerable standard in 2022. / Data Sources: Table_HC9a_Percentage_of_dwellings_below_tolerable_standard_by_tenure_and_age_band

## Figure_HC10
Figure HC10: Dwellings below tolerable standard (BTS) by tenure and age band, 2019 and 2022 (pre 2022 - 12 criteria only) [note 5]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Bar chart showing the percentage of dwelling below tolerable standard (BTS) by tenure and age band, 2019 and 2022. In 2022 the proportion of below tolerable standard dwellings across tenure (when excluding the two new below tolerable standard criteria) is similar to 2019. The share of dwellings below tolerable standard in both the private and social rental sectors was 2%, both similar to 2019. The proportion of owned outright dwellings failing the tolerable standard was 2% in 2022, similar to 2019. The proportion of pre-1919 dwellings below tolerable standard was 5% in 2022, similar to 2019. Very few recently built dwellings (post 1965) were below tolerable standard compared to pre-1919 dwellings, at less than 1% in 2022 / Data Sources: Table_HC9a_Percentage_of_dwellings_below_tolerable_standard_by_tenure_and_age_band

## Table_HC10
Table HC10: Below tolerable standard (BTS) dwellings by individual tolerable standard criteria failures, 2022 [note 5] [note 10]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
TS	Tolerable Standard Criteria	Percentage of dwellings / below tolerable standard / (%)	Number of dwellings / below tolerable standard / (in thousands)
T1	Structurally stable dwelling	[c]	[c]
T2	Free from rising/penetrating damp	3%	19
T3	Satisfactory provision for lighting, ventilation and heating	1%	9
T4	Adequate piped supply of wholesome water	[c]	[c]
T5	Satisfactory supply of hot and cold water within the house	[low]	3
T6	WC for the exclusive use of the occupants of the house	[low]	3
T7	Bath/shower/sink with hot and cold water	1%	6
T8	Effective drainage/disposal system	[c]	[c]
T9	Satisfactory facilities for cooking	[c]	[c]
T10	Satisfactory access to all external doors and outbuildings	[low]	3
T11	Safe electrical systems	1%	10
T12	Satisfactory insulated dwelling	2%	12
T13	Satisfactory equipment for detecting and warning in the event of fire	86%	638
T14	Satisfactory equipment for warning against high levels of carbon monoxide	51%	373
	All Dwellings Below Tolerable Standard (failing any of T1 - T14)	29%	742
	Dwellings Below Tolerable Standard (failing any of T1 - T12)	2%	55
	Below Tolerable Standard Dwellings Sample Size (number)	895
	All Dwellings Sample Size (number)	2,983

## Figure_HC11
Figure HC11: Below tolerable standard (BTS) dwellings by individual tolerable standard criteria failures, 2022 [note 5]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Bar chart showing the percentage of below tolerable standard (BTS) dwellings by individual tolerable standard criteria failures in 2022. Dwellings which failed the tolerable standard in 2022 most commonly did so because they failed the two new criteria; 86% of below tolerable standard dwellings (around 638,000 dwellings) did not have satisfactory equipment for detecting and warning in the event of fire and 51% of below tolerable standard dwellings (around 373,000 dwellings) did not have satisfactory equipment for warning against high levels of carbon monoxide. Other reasons causing dwellings to fail the tolerable standard in 2022 is that they were; not free from rising/penetrating damp (19,000 or 3% of BTS dwellings) and not satisfactorily insulated (12,000 or 2% of BTS dwellings). / Data Sources: Table_HC10_Below_tolerable_standard_dwellings_by_individual_tolerable_standard_criteria_failures

## Table_HC11a_and_HC11b
Table HC11a and HC11b: Dwellings failing SHQS and individual criteria, 2010 to 2022
This worksheet contains two tables presented next to each other horizontally, with one blank column between them.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Table HC11a: Percentage of dwellings failing SHQS and individual criteria, 2010-2022 [note 5] [note 6] [note 10]					Table HC11b: Number of dwellings (in thousands) failing SHQS and individual criteria, 2010-2022 [note 5] [note 6] [note 10]
SHQS Criteria	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022 / (Full 14 criteria)	2022 / (Pre 2022 - / 12 criteria)		Dwelling Characteristics	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022 / (Full 14 criteria)	2022 / (Pre 2022 - / 12 criteria)
SHQS	61%	58%	54%	49%	48%	45%	45%	40%	41%	43%	[x]	[x]	55%	40%		SHQS	1,437	1,378	1,289	1,180	1,149	1,106	1,097	993	1,017	1,070	[x]	[x]	1,409	1,030
Below Tolerable Standard	4%	3%	4%	3%	2%	2%	2%	1%	2%	2%	[x]	[x]	29%	2%		Below Tolerable Standard	84	72	87	71	48	42	39	24	50	40	[x]	[x]	742	55
Serious Disrepair	1%	1%	[low]	[low]	[low]	[low]	[low]	[low]	[low]	[low]	[x]	[x]	1%	1%		Serious Disrepair	18	12	1	4	3	2	1	3	3	3	[x]	[x]	36	36
Not Energy Efficient	49%	46%	42%	36%	35%	34%	33%	30%	30%	32%	[x]	[x]	31%	31%		Not Energy Efficient	1,160	1,090	1,006	872	843	821	804	732	742	793	[x]	[x]	800	800
Lacking Modern Facilities/Services	16%	14%	12%	11%	11%	9%	9%	7%	6%	7%	[x]	[x]	6%	6%		Lacking Modern Facilities/Services	367	324	283	273	269	214	210	183	150	163	[x]	[x]	149	149
Not Healthy, Safe or Secure	17%	17%	16%	14%	14%	13%	12%	10%	13%	12%	[x]	[x]	10%	10%		Not Healthy, Safe or Secure	391	402	383	329	334	326	303	255	312	304	[x]	[x]	243	243
Sample Size (number)	3,115	3,219	2,787	2,725	2,682	2,754	2,850	3,002	2,964	2,997	[x]	[x]	2,983	2,983

## Figure_HC12
Figure HC12: Dwellings failing SHQS and individual criteria, 2010 to 2022 [note 5] [note 6] [note 10]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Two line charts showing the percentage of dwellings failing SHQS from 2010 to 2022. In 2022, two new below tolerable standard criteria were introduced leading to a sharp increase to the proportion of dwellings failing to meet the SHQS from 43% in 2019 to 55% in 2022. Excluding the two new criteria from the timeseries, reduces the failure rate of dwellings meeting the SHQS to 40%. Similar to the rate of 43% in 2019. / Data Source: Table_HC11a_Percentage_of_dwellings_failing_SHQS_and_individual_criteria

## Figure_HC13
Figure HC13: Dwellings failing SHQS individual criteria, 2010 to 2022 [note 5] [note 6] [note 10]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Five line charts showing the percentage of dwellings failing the five SHQS individual criteria, from 2010 to 2022. As in previous years, the highest failure rate was with respect to the Energy Efficient criterion (31%). In 2022 the proportion of dwellings which did not meet the BTS criterion increased from 2% to 29%, due to the introduction of two new BTS criteria. The failure rate for the Healthy, Safe and Secure criterion was 10% and 6% for Modern Facilities. There were a small number of dwellings which did not meet the Serious Disrepair criterion (1%). / Data Source: Table_HC11a_Percentage_of_dwellings_failing_SHQS_and_individual_criteria

## Table_HC12a,_HC12b_and_HC12c
Table HC12a, HC12b and HC12c: Dwellings failing SHQS by dwelling characteristics, 2018 to 2022
This worksheet contains three tables presented next to each other horizontally, with one blank column among them.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Table HC12a: Percentage of dwellings failing SHQS by dwelling characteristics, 2018- 2022 [note 5] [note 6] [note 10]					Table HC12b: Number of dwellings (in thousands) failing SHQS by dwelling characteristics, 2018- 2022 [note 5] [note 6] [note 10]					Table HC12c: Sample sizes, 2018- 2022
Dwelling Characteristics	Category	2018	2019	2020	2021	2022 / (Full 14 criteria)	2022 / (Pre 2022 - / 12 criteria)		Dwelling Characteristics	Category	2018	2019	2020	2021	2022 / (Full 14 criteria)	2022 / (Pre 2022 - / 12 criteria)		Dwelling Characteristics	Category	2018	2019	2020	2021	2022
Dwelling Age	pre-1919	53%	53%	[x]	[x]	61%	42%		Dwelling Age	pre-1919	251	256	[x]	[x]	282	194		Dwelling Age	pre-1919	521	546	[x]	[x]	593
Dwelling Age	1919-1944	51%	55%	[x]	[x]	69%	56%		Dwelling Age	1919-1944	143	151	[x]	[x]	195	160		Dwelling Age	1919-1944	327	310	[x]	[x]	317
Dwelling Age	1945-1964	49%	53%	[x]	[x]	66%	54%		Dwelling Age	1945-1964	260	277	[x]	[x]	344	280		Dwelling Age	1945-1964	654	638	[x]	[x]	635
Dwelling Age	1965-1982	48%	49%	[x]	[x]	60%	49%		Dwelling Age	1965-1982	253	269	[x]	[x]	340	281		Dwelling Age	1965-1982	654	704	[x]	[x]	629
Dwelling Age	post-1982	17%	17%	[x]	[x]	35%	16%		Dwelling Age	post-1982	110	117	[x]	[x]	247	114		Dwelling Age	post-1982	808	799			809
Tenure	Owned outright	43%	44%	[x]	[x]	60%	42%		Tenure	Owned outright	367	384	[x]	[x]	608	421		Tenure	Owned outright	1,091	1,159	[x]	[x]	1,272
Tenure	Mortgaged	38%	40%	[x]	[x]	58%	36%		Tenure	Mortgaged	266	265	[x]	[x]	372	232		Tenure	Mortgaged	846	806	[x]	[x]	769
Tenure	LA	41%	47%	[x]	[x]	49%	45%		Tenure	LA	167	172	[x]	[x]	180	165		Tenure	LA	459	425	[x]	[x]	375
Tenure	HA	26%	32%	[x]	[x]	30%	25%		Tenure	HA	64	86	[x]	[x]	72	60		Tenure	HA	274	290	[x]	[x]	260
Tenure	Private rented	56%	52%	[x]	[x]	60%	52%		Tenure	Private rented	153	163	[x]	[x]	177	151		Tenure	Private rented	294	317	[x]	[x]	307
Tenure (grouped)	Private Sector	43%	44%	[x]	[x]	60%	41%		Tenure (grouped)	Private Sector	786	812	[x]	[x]	1,157	805		Tenure (grouped)	Private Sector	2,231	2,282	[x]	[x]	2,348
Tenure (grouped)	Social Sector	35%	41%	[x]	[x]	41%	37%		Tenure (grouped)	Social Sector	231	258	[x]	[x]	252	225		Tenure (grouped)	Social Sector	733	715	[x]	[x]	635
Urban-Rural Indicator [note 4]	Urban	39%	42%	[x]	[x]	55%	40%		Urban-Rural Indicator [note 4]	Urban	813	860	[x]	[x]	1,167	845		Urban-Rural Indicator [note 4]	Urban	2,292	2,280	[x]	[x]	2,249
Urban-Rural Indicator [note 4]	Rural	49%	49%	[x]	[x]	57%	44%		Urban-Rural Indicator [note 4]	Rural	204	209	[x]	[x]	242	185		Urban-Rural Indicator [note 4]	Rural	672	717	[x]	[x]	734
All dwellings	All dwellings	41%	43%	[x]	[x]	55%	40%		All dwellings	All dwellings	1,017	1,070	[x]	[x]	1,409	1,030		All dwellings	All dwellings	2,964	2,997	[x]	[x]	2,983

## Figure_HC14
Figure HC14: Dwellings failing SHQS by dwelling characteristics, 2022 [note 5] [note 6]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Bar chart showing the percentage of dwellings failing SHQS by dwelling characteristics in 2022. The lowest failure rates are in the newest dwellings (post-1982, 35% fail) and in Housing Associations stock (30% fail). Housing Association dwellings are often newer than Local Authority stock (which had a higher failure rate of 49%) and are therefore usually built to a higher energy efficiency standard. The newest purpose-build social housing in Scotland is also likely to be designed to comply with SHQS. / The overall SHQS failure rate for social sector housing in 2022 stood at 41%, and to the private sector at 60%. If it is assumed that all social dwellings have insulated cavity walls where this is technically feasible, the overall SHQS failure rate in the social sector would be 28%. SHCS based measures do not make an allowance for abeyances and exemptions from the SHQS in social rented housing. Overall, in 2022, the introduction of two new BTS criteria led to an increase in the SHQS failure rate across all dwelling types, tenures and locations. / Data Sources: Table_HC12a_Percentage_of_dwellings_failing_SHQS_by_dwelling_characteristics

## Table_HC13
Table HC13: SHQS criteria failure rates by tenure, 2010-2022 [note 5] [note 6] [note 10]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Tenure	SHQS Criteria	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022 / (new BTS)	2022 / (Pre 2022 BTS)
Private Sector	Below Tolerable Standard	4%	4%	4%	3%	2%	2%	2%	1%	2%	2%	[x]	[x]	35%	2%
Private Sector	Serious Disrepair	1%	1%	[low]	[low]	[low]	[low]	[c]	[low]	[c]	[low]	[x]	[x]	1%	1%
Private Sector	Not Energy Efficient	51%	49%	43%	39%	37%	36%	35%	31%	31%	32%	[x]	[x]	32%	32%
Private Sector	Lacking Modern Facilities/Services	13%	13%	11%	11%	11%	9%	9%	7%	7%	6%	[x]	[x]	6%	6%
Private Sector	Not Healthy, Safe or Secure	17%	18%	17%	14%	14%	14%	14%	11%	14%	13%	[x]	[x]	10%	10%
Private Sector	SHQS Overall	61%	60%	55%	14%	48%	47%	47%	41%	43%	44%	[x]	[x]	60%	41%
Social Sector	Below Tolerable Standard	2%	1%	3%	3%	1%	1%	1%	[low]	2%	1%	[x]	[x]	10%	2%
Social Sector	Serious Disrepair	[c]	[low]	[low]	[low]	[c]	[low]	[low]	[low]	[c]	[low]	[x]	[x]	1%	1%
Social Sector	Not Energy Efficient	44%	37%	39%	28%	30%	27%	26%	26%	26%	31%	[x]	[x]	29%	29%
Social Sector	Lacking Modern Facilities/Services	22%	15%	15%	12%	12%	8%	8%	7%	5%	7%	[x]	[x]	4%	4%
Social Sector	Not Healthy, Safe or Secure	16%	15%	13%	13%	14%	10%	9%	7%	9%	9%	[x]	[x]	8%	8%
Social Sector	SHQS Overall	60%	52%	52%	43%	45%	39%	38%	37%	35%	41%	[x]	[x]	41%	37%
All tenures	Below Tolerable Standard	4%	3%	4%	3%	2%	2%	2%	1%	2%	2%	[x]	[x]	29%	2%
All tenures	Serious Disrepair	1%	1%	[low]	[low]	[low]	[low]	[c]	[low]	[low]	[low]	[x]	[x]	1%	1%
All tenures	Not Energy Efficient	49%	46%	42%	36%	35%	34%	33%	30%	30%	32%	[x]	[x]	31%	31%
All tenures	Lacking Modern Facilities/Services	16%	14%	12%	11%	11%	9%	9%	7%	6%	7%	[x]	[x]	6%	6%
All tenures	Not Healthy, Safe or Secure	17%	17%	16%	14%	14%	13%	12%	10%	13%	12%	[x]	[x]	10%	10%
All tenures	SHQS Overall	61%	58%	54%	49%	47%	45%	45%	40%	41%	43%	[x]	[x]	55%	40%
Private Sector	Sample Size (number)	2,292	2,400	2,046	2,021	2,009	2,095	2,134	2,274	2,231	2,282	[x]	[x]	2,348	2,348
Social Sector	Sample Size (number)	823	819	695	662	673	659	716	728	733	715	[x]	[x]	635	635
All tenures	Sample Size (number)	3,115	3,219	2,787	2,725	2,682	2,754	2,850	3,002	2,964	2,997	[x]	[x]	2,983	2,983

## Figure_HC15
Figure HC15: SHQS criteria failure rates by tenure, 2022 [note 5] [note 6] [note 10]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Bar chart showing the SHQS criteria failure rates by tenure in 2022. The SHCS estimates that 41% of social sector housing failed to meet the SHQS in 2022. This was predominantly due to the Energy Efficient criterion, where 29% of properties failed on this measure. 10% failed the Below Tolerable Standard criterion, 8% failed the Healthy, Safe and Secure criterion and 4% failed the Modern Facilities criterion. A small proportion (1%) failed the Serious Disrepair criterion. If the SHQS applied to private sector housing then 60% would fail to meet it, in 2022. This would be primarily due to 35% of the properties failing to meet the Below Tolerable Standard criterion and 32% failing to meet the Energy Efficient criterion. 10% of the properties would also fail the Healthy, Safe and Secure criterion and 6% would fail the Modern Facilities criterion. A small proportion (1%) would fail the Serious Disrepair criterion. / Data Sources: Table_HC13_SHQS_criteria_failure_rates_by_tenure

## Table_HC14a_and_HC14b
Table HC14a and HC14b: Number and proportion of dwellings by numbers of SHQS criteria failures and tenure, 2010 to 2022 [note 5] [note 6] [note 10]
This worksheet contains two tables presented next to each other horizontally, with one blank column between them.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Table HC14a: Percentage of dwellings by number of SHQS criteria failures and tenure, 2010- 2022					Table HC14b: Numbers of dwellings (in thousands) by number of SHQS criteria failures and tenure, 2010- 2022
Sector	Number of SHQS Criteria Failures	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022 / (new BTS)	2022 / (Pre 2022 BTS)		Sector	Number of SHQS Criteria Failures	2010	2011	2012	2013	2014	2015	2016	2017	2018	2019	2020	2021	2022 / (new BTS)	2022 / (Pre 2022 BTS)
Private Sector	None	39%	40%	45%	49%	52%	53%	53%	59%	57%	56%	[x]	[x]	40%	59%		Private Sector	None	661	695	792	860	924	969	970	1,078	1,035	1,050	[x]	[x]	784	1,136
Private Sector	1 Criterion	42%	42%	38%	37%	36%	35%	36%	33%	34%	35%	[x]	[x]	40%	33%		Private Sector	1 Criterion	718	732	669	656	649	652	665	604	614	652	[x]	[x]	774	643
Private Sector	2 Criteria	15%	14%	13%	10%	10%	10%	9%	7%	8%	7%	[x]	[x]	15%	7%		Private Sector	2 Criteria	254	247	228	183	173	191	167	128	150	139	[x]	[x]	293	129
Private Sector	3+ Criteria	4%	4%	3%	3%	3%	2%	2%	1%	1%	1%	[x]	[x]	5%	2%		Private Sector	3+ Criteria	75	78	60	52	48	33	28	27	22	22	[x]	[x]	91	33
Private Sector	All Dwellings	100%	100%	100%	100%	100%	100%	100%	100%	100%	100%	[x]	[x]	100%	100%		Private Sector	All Dwellings	1,707	1,751	1,749	1,751	1,793	1,845	1,829	1,838	1,822	1,862	[x]	[x]	1,941	1,941
Social Sector	None	40%	48%	48%	57%	55%	61%	62%	63%	65%	59%	[x]	[x]	59%	63%		Social Sector	None	259	296	287	344	347	359	385	392	425	376	[x]	[x]	357	384
Social Sector	1 Criterion	40%	38%	37%	33%	34%	32%	33%	35%	29%	34%	[x]	[x]	32%	30%		Social Sector	1 Criterion	262	234	223	201	216	191	202	217	193	214	[x]	[x]	194	181
Social Sector	2 Criteria	15%	11%	12%	8%	9%	6%	6%	2%	5%	6%	[x]	[x]	7%	6%		Social Sector	2 Criteria	98	70	74	51	54	35	35	15	34	40	[x]	[x]	45	35
Social Sector	3+ Criteria	5%	3%	2%	2%	2%	1%	[w]	[c]	1%	1%	[x]	[x]	2%	1%		Social Sector	3+ Criteria	31	18	13	13	10	4	[w]	[c]	4	4	[x]	[x]	13	9
Social Sector	All Dwellings	100%	100%	100%	100%	100%	100%	100%	100%	100%	100%	[x]	[x]	100%	100%		Social Sector	All Dwellings	650	617	597	608	627	589	622	626	656	634	[x]	[x]	609	609
All Sectors	None	39%	42%	46%	51%	53%	55%	55%	60%	59%	57%	[x]	[x]	45%	60%		All Sectors	None	920	990	1,098	1,222	1,271	1,328	1,355	1,470	1,460	1,426	[x]	[x]	1,141	1,520
All Sectors	1 Criterion	42%	41%	38%	37%	36%	35%	35%	33%	33%	35%	[x]	[x]	38%	32%		All Sectors	1 Criterion	980	966	903	880	865	843	867	821	806	865	[x]	[x]	968	824
All Sectors	2 Criteria	15%	13%	13%	10%	9%	9%	8%	6%	7%	7%	[x]	[x]	13%	6%		All Sectors	2 Criteria	352	316	308	236	227	226	202	143	185	178	[x]	[x]	338	164
All Sectors	3+ Criteria	4%	4%	3%	3%	2%	2%	1%	1%	1%	1%	[x]	[x]	4%	2%		All Sectors	3+ Criteria	106	95	78	64	58	37	28	29	26	26	[x]	[x]	103	41
All Sectors	All Dwellings	100%	100%	100%	100%	100%	100%	100%	100%	100%	100%	[x]	[x]	100%	100%		All Sectors	All Dwellings	2,357	2,368	2,386	2,402	2,420	2,434	2,452	2,464	2,477	2,496	[x]	[x]	2,550	2,550
Private Sector	Sample size	2,292	2,400	2,092	2,063	2,009	2,095	2,134	2,274	2,231	2,282	[x]	[x]	2,348	2,348
Social Sector	Sample size	823	819	695	662	673	659	716	728	733	715	[x]	[x]	635	635
All Sectors	Sample size	3,115	3,219	2,787	2,725	2,682	2,754	2,850	3,002	2,964	2,997	[x]	[x]	2,983	2,983

## Figure_HC16
Figure HC16: Percentage of dwellings by number of SHQS criteria failures and sector, 2022 [note 5] [note 6] [note 10]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Bar chart showing the percentage of dwellings by number of SHQS criteria failures and sector in 2022. The majority of failures in 2022 were due to a single criterion: 38% for the whole stock, 40% for private sector and 32% for social sector dwellings. / Data Source: Table_HC14a_Percentage_of_dwellings_by_number_of_SHQS_criteria_failures

## Figure_HC17
Figure HC17: Percentage of dwellings by numbers of SHQS criteria failures and sector, 2010 to 2022 [note 5] [note 6] [note 10]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Two line charts showing the percentage of dwellings by number of SHQS criteria failures and sector, from 2010 to 2022. Since 2010, the majority of failures in both private and social sector were due to a single criterion. In 2022 , 40% for private sector and 32% for social sector dwellings failed in one SHQS criterion. In 2010, the corresponding figures for the percentage of dwellings failing on just one criterion was 42% for private sector and 40% the social sector. Therefore over time, alongside the reduction in the overall failure rate, there has also been a reduction in the reasons why a dwelling does not meet the standard although this has been more stable in recent years. / Data Source: Table_HC14a_Percentage_of_dwellings_by_number_of_SHQS_criteria_failures

## Table_HC15
Table HC15: Number and proportion of dwellings by numbers of SHQS element failures and sector, 2022 [note 6]
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Sector	Number of SHQS Element Failures	Percentage of all dwellings (%)	Percentage of all failing dwellings (%)	Number of dwellings / (in thousands)
Private Sector	None	40%	[z]	784
Private Sector	1 Element	28%	47%	546
Private Sector	2 Elements	18%	30%	345
Private Sector	3+ Elements	14%	23%	266
Private Sector	All Failing Dwellings	[z]	100%	1,157
Private Sector	All Dwellings	100%	[z]	1,941
Social Sector	None	59%	[z]	357
Social Sector	1 Element	27%	66%	166
Social Sector	2 Elements	9%	22%	54
Social Sector	3+ Elements	5%	13%	32
Social Sector	All Failing Dwellings	[z]	100%	252
Social Sector	All Dwellings	100%	[z]	609
All Sectors	None	59%	[z]	1,141
All Sectors	1 Element	37%	51%	712
All Sectors	2 Elements	21%	28%	399
All Sectors	3+ Elements	12%	21%	298
All Sectors	All Failing Dwellings	[z]	100%	1,409
All Sectors	All Dwellings	[z]	[z]	2,550
Private Sector	Sample size	2,348
Social Sector	Sample size	635
All Sectors	Sample size	2,983

## Figure_HC18
Figure HC18: Percentage of of dwellings failing the SHQS by numbers of SHQS element failures and sector, 2022 [note 6]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Bar chart showing the percentage of dwellings by number of SHQS element failures and sector in 2022. The majority of failures in 2022 were due to a single element failure: 51% for the whole stock, 47% for private sector and 32% for social sector dwellings. / Data Source: Table_HC15_Number_and_percentage_of_dwellings_by_numbers_of_SHQS_element_failures_and_tenure

## Table_HC16a_and_HC16b
Table HC16a and HC16b: SHQS single-element failure by element and sector, 2022
This worksheet contains two tables presented next to each other horizontally, with one blank column between them.
Some cells refer to notes which can be found on the notes worksheet.

Table HC16a: Percentage of dwellings by SHQS single-element failure and sector, 2022 [note 5]					Table HC16b: Number of dwellings by SHQS single-element failure and sector, 2022 [note 5]
SHQS Criteria	Private Sector / (%)	Social Sector / (%)	All Sectors / (%)		SHQS Criteria	Private Sector / (in thousands)	Social Sector / (in thousands)	All Sectors / (in thousands)
Structurally Stable	[c]	[w]	[w]		Structurally Stable	[c]	[w]	[w]
Rising and Penetrating Dampness	1%	[c]	[low]		Rising and Penetrating Dampness	12	[c]	4
Light, Ventilation and Heating	[low]	[c]	[c]		Light, Ventilation and Heating	7	[c]	[c]
Wholesome Water	[c]	[w]	[w]		Wholesome Water	[c]	[w]	[w]
Sink with Hot and Cold Water	[low]	[w]	[w]		Sink with Hot and Cold Water	3	[w]	[w]
Water Closet	[low]	[w]	[w]		Water Closet	3	[w]	[w]
Bath or shower and whb	[low]	[w]	[w]		Bath or shower and whb	5	[w]	[w]
Effective drainage	[c]	[w]	[w]		Effective drainage	[c]	[w]	[w]
Food Preparation Facilities	[low]	[w]	[w]		Food Preparation Facilities	2	[w]	[w]
Access External Doors & Outbuoldings	[low]	[w]	[w]		Access External Doors & Outbuoldings	3	[w]	[w]
Electrical Installations	[low]	[w]	[w]		Electrical Installations	5	[w]	[w]
Thermal Insulation	1%	[w]	[w]		Thermal Insulation	12	[w]	[w]
Fire Alarms	27%	6%	28%		Fire Alarms	600	11	196
Carbon Monoxide Alarms	15%	6%	7%		Carbon Monoxide Alarms	346	10	48
Wall Structure	[c]	[w]	[w]		Wall Structure	[c]	[w]	[w]
Internal Floor Structures	1%	2%	2%		Internal Floor Structures	24	3	14
Foundations	[w]	[w]	[w]		Foundations	[w]	[w]	[w]
Roof Structure	[w]	[w]	[w]		Roof Structure	[w]	[w]	[w]
Effective Insulation - Cavity Walls	14%	50%	33%		Effective Insulation - Cavity Walls	326	84	232
Effective Insulation Loft	4%	2%	2%		Effective Insulation Loft	83	3	16
Effective Insulation Pipes	7%	8%	7%		Effective Insulation Pipes	147	14	50
Full and Efficient Central Heating	7%	7%	7%		Full and Efficient Central Heating	147	11	50
EESSH/NHER	5%	1%	2%		EESSH/NHER	112	2	15
Kitchen Condition	0%	[w]	[w]		Kitchen Condition	7	[w]	[w]
Bathroom Condition	0%	[c]	[low]		Bathroom Condition	9	[c]	3
Safe Kitchen Work Arrangement	2%	1%	2%		Safe Kitchen Work Arrangement	55	2	17
At least 6 Kitchen Sockets	3%	2%	3%		At least 6 Kitchen Sockets	62	4	20
Kitchen space requirements	1%	[c]	1%		Kitchen space requirements	17	[c]	9
Healthy Lead Piping	0%	[w]	[c]		Healthy Lead Piping	6	[w]	[c]
Mechanical Ventilation	0%	[c]	[c]		Mechanical Ventilation	4	[c]	[c]
Safety - Smoke detectors	4%	[w]	[low]		Safety - Smoke detectors	87	[w]	3
Safe electrical installations	0%	[w]	[w]		Safe electrical installations	4	[w]	[w]
Safe Gas - Oil Installations	0%	[w]	[c]		Safe Gas - Oil Installations	3	[w]	[c]
Safe Lifts	[w]	[c]	[c]		Safe Lifts	[w]	[c]	[c]
Safe Lobbies, Halls, Passages	[c]	[w]	[w]		Safe Lobbies, Halls, Passages	[c]	[w]	[w]
Safe Pathways	[low]	[w]	[w]		Safe Pathways	3	[w]	[w]
Safe Common Refuse Chutes	[w]	[w]	[w]		Safe Common Refuse Chutes	[w]	[w]	[w]
Safe Common Bin Stores	[c]	[w]	[w]		Safe Common Bin Stores	[c]	[w]	[w]
Safe Common Lighting	[low]	[w]	[w]		Safe Common Lighting	4	[w]	[w]
Secure Doors	1%	[c]	1%		Secure Doors	15	[c]	6
Secure Door Entry System	3%	3%	2%		Secure Door Entry System	65	6	13
Safe Common Front/Rear Doors	3%	3%	2%		Safe Common Front/Rear Doors	66	5	13

## Figure_HC19
Figure HC19:Single- element SHQS failures by sector, 2022 [note 5]
This worksheet contains the image of a chart and a text description of this chart.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Text description: / Three bar charts showing the percentage of single- element SHQS failures by sector. In 2022, the single elements most likely to cause failure (as there are no other reasons to fail the SHQS in these dwellings) across all tenures are cavity wall insulation (33%) and fire alarms (28%). Other elements causing a single SHQS failure are; pipe insulation (7%), full and efficient central heating (7%), carbon monoxide alarms (7%) and at least six kitchen sockets (3%). In social sector, the elements most likely to cause a single SHQS failure are cavity wall insulation (50% of all single element failures in the social sector) followed by pipe insulation (8%), full and efficient central heating (7%), fire alarms (6%), carbon monoxide alarms (6%) and secure door entry system (3%). In private sector, the elements most likely to cause a single SHQS failure are cavity fire and carbon monoxide alarms (27% and 15% respectively). Other elements causing a single element SHQS failure are cavity wall insulation (14%) and full and efficient central heating (7%). / Data Sources: Table_HC16a_Percentage_of_dwellings_by_SHQS_single_element_failure_and_sector_2022

## Table_HC17
Table HC17: Dwellings in the social sector failing the energy efficient criterion and SHQS overall, with and without the cavity wall insulation (CWI) element, 2018 and 2022
This worksheet contains one table.
Some cells refer to notes which can be found on the notes worksheet.
Back to table of contents
Year	Cavity Wall Insulation (CWI) Element	Dwellings Failing the / Energy Efficient Criterion / (%)	Dwellings Failing the / Energy Efficient Criterion / (in thousands)	Dwellings Failing the / SHQS Overall / (%)	Dwellings Failing the / SHQS Overall / (in thousands)
2022	inc. CWI element	29%	179	41%	252
2022	exc. CWI element	10%	60	28%	168
2022	Difference	-19 pts	-119	-13 pts	-84
2021	inc. CWI element	[x]	[x]	[x]	[x]
2021	exc. CWI element	[x]	[x]	[x]	[x]
2021	Difference	[x]	[x]	[x]	[x]
2020	inc. CWI element	[x]	[x]	[x]	[x]
2020	exc. CWI element	[x]	[x]	[x]	[x]
2020	Difference	[x]	[x]	[x]	[x]
2019	inc. CWI element	31%	193	41%	258
2019	exc. CWI element	14%	90	28%	176
2019	Difference	-16 pts	-103	-13 pts	-81
2018	inc. CWI element	26%	170	35%	231
2018	exc. CWI element	10%	68	22%	147
2018	Difference	-16 pts	-102	-13 pts	-84